|  |
| --- |
| Emergency showers |
|   |
| NO | ITEM | UNIT | QTY | UNIT Price | TOTAL Price in SDG |
| 1 | Excavation of pit dimention(1.5\*3) and ‏ 0.30m depth and cart away the excavated soil including‏ cleaning the site. | m3 | 1.35 |  |  |
|  |
|  |
| 2 | Supply and install a mount well graded material in the pit area and 30cm over ground level, plus all the necessary works. Approved inert materials (Alazaza) well watered and compacted. . | m3 | 1.35 |  |  |  |
|  |
|  |
|  |
| 3 | Provide materials and cast plain Concrete slab with slop dimension of 3m long x 1.5m width x 0.15m thickness using mix ratio of 1:3:6 with spray with water for 5 days and install pvc pipe 2 insh to draining waste water,to soak pit, according to technical specification and engineer's instruction. | m3 | 0.7 |  |  |  |
|  |
|  |
|  |
| 4 | Supply and layout flood protection around the showers thickness o.45 m width 1 m using alazaza backfilling well compacted | m3 | 2.025 |  |  |  |
|  |
|  |
|  |
| 5 | Excavation of 6 pit footing (0.50\*0.50\*0.50) m and cart away the excavated soil including‏ cleaning the site. | m3 | 0.75 |  |  |  |
|  |
| 6 | provide and construct side partition , 2.85m high for 2 showers superstructure,made of shargania and plastic sheet and ban : from ban buried 50cm below ground level and shargania 2.85 m high fix with bamboo in 4 roows ,include all necessary works to get the job. according to technical specification and engineer's instruction. | jop | 1 |  |  |  |
|  |
|  |
|  |
|  |
| 7 | provide and construct ceilling for latrines superstructure,made from shergani and bamboo according to technical specification and engineer's instruction. | jop | 1 |  |  |  |
|  |
|  |
|  |
| 8 | provide materials and fix door 200cm\*80 made of wood frame 5 cm trapaulin sheet cover complete with internal lock. | number | 2 |  |  |  |
|  |
|  |
|  |
|  |
| 9 | site cleanance and cart away all the debrise to enhance enviromental measures surrounding the construction site. | job | 1 |  |  |  |
|  |
|  |
|  |
| Total |  |  |
| Total cost with VAT |  |  |