## Medicines PS
Ox Humanitarian Relief -Medicines
No | Item description | Unit | Bidder's Item description | Qty | Unit | Total
1 | Acetyl salicylic acid 100 mg tabs | Box of 3 strips |  | 720
2 | Albendazole 400 mg | Box of one strip |  | 72
3 | Aluminum hydroxide + Magnesium hydroxide + Simethicone | Box of 3 strips |  | 121
4 | Amlodipine 5mg tabs | Box of 3 strips |  | 540
5 | Amlodipine 10mg tabs | Box of 3 strips |  | 661
6 | Ascorbic acid (Vitamin C) | Box of 3 strips |  | 421
7 | Atorvastatin 20 mg tabs | Box of 3 strips |  | 391
8 | Candesartan + Hydrochlorothiazide 16+12.5mg | Box of 3 strips |  | 301
9 | Carbamazepine 400 mg | Box of 3 strips |  | 241
10 | Ciprofloxacin 500mg/tabs | Box of 1 strip |  | 1800
11 | Clarithromycin 500 mg | Box of 3 strips |  | 301
12 | Diclofenac potassium 50mg | Box of 3 strips |  | 751
13 | Ferrous sulfate + Folic acid | Box of 3 strips |  | 241
14 | Ferrous sulfate syrup | bottle |  | 241
15 | Glimepiride 2mg | Box of 3 strips |  | 781
16 | Glimepiride 4mg tabs | Box of 3 strips |  | 781
17 | Hyoscine Butylscopolamine 10mg tabs | Box of 3 strips |  | 1800
18 | Ibuprofen 200 mg | Box of 10 strips |  | 720
19 | Ibuprofen 400 mg | Box of 10 strips |  | 720
20 | Ibuprofen Syrup 100mg/5ml | bottle |  | 630
21 | furosemide 40 mg | Box of 3 strips |  | 241
22 | Lactulose syrup | bottle |  | 360
23 | lisinopril 5mg tabs | Box of 3 strips |  | 540
24 | Loratadine 10 mg tabs | Box of 3 strips |  | 450
25 | Mebeverine 200mg tabs | Box of 3 strips |  | 2401
26 | Meloxicam 15 mg tabs | Box of 3 strips |  | 346
27 | Metformin 500 tabs | Box of 3 strips |  | 601
28 | Metformin 850 tabs | Box of 3 strips |  | 241
29 | Metronidazole 500mg tabs | Box of 3 strips |  | 1350
30 | metronidazole syrup 200mg | bottle |  | 1080
31 | Norfloxacin 400mg / TAB | Box of one strip |  | 540
32 | Nystatin 100.000 iu | tube |  | 360
33 | Nystatin vaginal 100,000IU | tube |  | 315
34 | Omeprazole 20mg tabs | Box of 3 strips |  | 481
35 | Predonisolone 5mg tabs | Box of 3 strips |  | 450
36 | Pulmocare Syrup | bottle |  | 1170
37 | Oral Rehydration Salt | sachet |  | 900
38 | Pantoprazole 40 mg tabs | Box of 3 strips |  | 391
39 | paracetamol 500mg tabs | Box of 4 strips |  | 675
40 | Paracetamol syrup 125mg/5ml syrup | bottle |  | 540
41 | Salbutamol inhaler | Vial |  | 810
42 | Vitaferrol caps | Box of 3 strips |  | 751
43 | Zinc sulphate 20mg tabs | Box of 3 strips |  | 360
44 | Zinc sulphate syrup 10mg/5ml | bottle |  | 900
45 | Calamine | bottle |  | 450
46 | Fusidic acid (eye drop) | Vial |  | 360
47 | Gentamycin + Dexamethason ear drop | Vial |  | 270
48 | Miconazole cream 2% | tube |  | 495
49 | Multivitamin syrup | bottle |  | 450
50 | Tetracycline (eye ointment) | Vial |  | 360
51 | fucederm topical antibiotics | tube |  | 450
52 | Ketocanazole oral gel | tube |  | 360
53 | thyroxin tabs 100mg tabs | Box of 3 strips |  | 301
54 | clopidogrel 75 mg tabs | Box of 3 strips |  | 360
55 | Folic acid 5mg tabs | Box of 3 strips |  | 421
56 | Ketocanazole soap | Pcs |  | 270
57 | Betaderm ointment | tube |  | 41
58 | Loscar H (losartan 200 + ydrochlorothizide 12.5 ) | Box of 3 strips |  | 331
59 | lotivan 10\160 (valsartan160m +Amilo10 ) | Box of 3 strips |  | 466
60 | zicuff syrup | bottle |  | 990
61 | Opticin eye drop | Vial |  | 180
62 | Nostamine nasal drop | Vial |  | 180
63 | Nistatine oral drop | Vial |  | 135
64 | Amixime 400 mg tabs | Box of one strip |  | 1440
65 | Amocxlan 1g tabs | Box of 3 strips |  | 630
66 | Amoclan 625 mg tabs | Box of 3 strips |  | 405
67 | Bisoprolol 5 mg tabs | Box of 3 strips |  | 106
68 | Saferon syrup tabs | bottle |  | 225
69 | Azithromycin 500 mg tabs | Box of one strip |  | 1080
70 | B complex | Box of 3 strips |  | 661
71 | Ketofein syrup | bottle |  | 990
72 | Diclofenac Sodium Gel (Rofenac Gel) 50 gm | tube |  | 810
73 | ALPHACORT Hydrochortizone ointment 0.1% | tube /ointment |  | 810
74 | Calcicare tabs | Box of 3 strips |  | 76
75 | Honeycure ointment | tube |  | 540
76 | optidex ED | vial |  | 495
77 | Mixtard insulin | vial |  | 720
78 | Insulin syrings | Box of 25 Pcs |  | 43
79 | Mebendazole 100mg | Box of one strip |  | 90
80 | adrenaline 1 ml | IV/ 1ml Ampoule |  | 36
81 | Ampicilline 500mh | IV/ 5ml Ampoule |  | 72
82 | artesunate 120 mg | IV/ 3ml Ampoule |  | 180
83 | artesunate 60 mg | IV/ 6ml Ampoule |  | 180
84 | Benzathine benzylpenicillin 1.2M IU | IV/ 2.3 ml Ampoule |  | 225
85 | ceftriaxone 1g iv | IV/ 5ml Ampoule |  | 180
86 | Dicrofenac sodium 75 iv | IV/ 3ml Ampoule |  | 180
87 | furosemide 20mg/2ml | IV/ 2ml Ampoule |  | 90
88 | Glucose 10% 500ml | IV/ 5 ml Ampoule |  | 72
89 | Glucose 5% 500ml | IV/ 10 ml Ampoule |  | 72
90 | Glucose 50% 500ml | IV/ 5ml Ampoule |  | 72
91 | Hydrocortizone 100ml | IV/ 100ml Ampoule |  | 90
92 | Lidocaine HCl 20 ml | IV/ 20ml Ampoule |  | 36
93 | metronidazol 500 ml | IV/ 500ml Ampoule |  | 270
94 | Pyridoxine=vitamin B6 100 ml | IV/ 100ml ampule |  | 54
95 | Ringer Lactate 500 ml | IV/ 500ml solution |  | 72
96 | Sodium chloride (0.9%) 500ml | IV/ 500ml solution |  | 72
97 | Water for injection 5ml | IV/ 5ml ampule |  | 180
98 | Water for injection 10ml | IV/ 5ml ampule |  | 180
99 | Benzyl benzoate lotion 20%1l | bottle |  | 180
100 | Betamethasone cream | tube |  | 360
101 | quinine sulphate 300 mg | Box of one strip |  | 180
102 | Amoxicillin + Clavulanic acid syrup125mg/5ml + 31.25mg/5ml / BTL | Bottle |  | 540
103 | Amoxicillin + Clavulanic acid syrup200mg/5ml + 28.5mg/5ml / BTL | Bottle |  | 540
104 | Amoxicillin syrup250 mg / BTL | Bottle |  | 540
105 | Amoxicillin syrup125mg / BTL | Bottle |  | 540
106 | Artemether + Lumefantrine 20/120 mg / TAB | Box of one strip |  | 585
107 | Artemether + Lumefantrine 80/480 mg / TAB | Box of one strip |  | 315
108 | praziquantel 600mg | Box of one strip |  | 90
109 | Cefixime syrup200 mg / BTL | bottle |  | 540
110 | Chlorpheniramine maleate 4mg | Box of one strip |  | 135
111 | Combined Minerals and Vitamins | Box of 10 sachet |  | 54
112 | Doxycycline100mg | Box of one strip |  | 585
113 | Enalapril5mg / TAB | Box of 3 strips |  | 76
114 | Fluconazole150 mg /CAP | Box of one strip |  | 270
115 | Chlorhexidine gluconate solution5%, 1L | tube |  | 270
116 | Clotrimazole (Candid B)cream | tube |  | 450
117 | Diclofenac Sodium Gel (Rofenac Gel) 50 gmgel | tube |  | 900
118 | Ethanol500mL | bottle |  | 270
119 | Fusidic acid (eye drop)2% | bottle |  | 540
120 | Gentamycin + Dexamethason ear drop0.003 | tube |  | 540
121 | Povidone iodine0.1 | bottle |  | 270
122 | Silver sulfadiazine cream1%, 50gm | tube |  | 270
123 | Sodium Cloride nasal drop (N.S nasal drop)drops | Vial |  | 540
124 | Tetracycline (eye ointment)1% / TUB | tube |  | 540
125 | Medical Escort Bag | Pcs |  | 7
126 | Glucometer | Pcs |  | 7
127 | Glucometer - Strips set | set |  | 14
128 | Hand Gloves | Pcs |  | 18
129 | Blood pressure Electronic Device | Pcs |  | 7
130 | Stethoscope (Littman original) | Pcs |  | 7
131 | Oximeter | Pcs |  | 7
132 | infrared forehead thermometer | Pcs |  | 7
133 | Multiparameter Monitor | Pcs |  | 4
Transporation of Port Sudan
VAT
Total

## Equipment1 GD
Ox Humnitraian Relief - Medical Equipments 1
No. | Item Description (include all necessary details) | Specification | QA requirements | Unit | Quantity | Unit price USD | Total USD
1 | Adhesive plaster | NA | NA | piece | 500
2 | Malaria Rapid diagnostic test (RDT) ( abox of 25) | Performance: - P.f (HRP2) : Sensitivity 99.7 %, Specificity 99.5 % - Pan (pLDH) : Sensitivity 95.5 %, Specificity 99.5 % Distinguish P.f infection from other species (P.v, P.m or P.o) WHO prequalified Specimen : Whole blood (maximum 5 μl) Time to result : 15 minutes or better 1-40°C for 24 months Malaria Ag P.f/Pan rapid test, qualitative and differential test for the detection of histidine-rich protein 2 HRP2 antigen of Plasmodium falciparum and common Plasmodium lactate dehydrogenase (pLDH) of Plasmodium species in human whole blood. | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | Box | 200
3 | RDT for Typhoid | In accordance with MoH and WHO standard. | In accordance with MoH and WHO standard. | box of 25 | 20
4 | RDT for HCG | peper coved strip used to Detect HCG Hormone | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | box of 50 | 20
5 | RDT for Denge fever | The Dengue Duo rapid kit, in-vitro immunochromatographic assay designed to detect both dengue virus NS1 antigen and IgG/IgM antibodies against dengue virus in human serum, plasma or whole blood. Simultaneous detection of Dengue Ag & Ab Cover all clinical stages from acute phase to convalescence phase of infection Fast test result : 15~20 min Convenient storage condition : 1~30°C Performance specifications: - Sensitivity : 92.4% (Dengue NS1 Ag), 94.2% (Dengue IgG/IgM) - Specificity : 98.4%(Dengue NS1 Ag), 96.4% (Dengue IgG/IgM) | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | Box of 25 | 10
6 | Infusion giving set,sterile,single use (adult) | General Description: Infusion giving set, sterile, single use Technical Specifications: Sterile single use device used for parenteral administration of infusions (IV fluids) by gravity. Device components: Perforator: Sharp piercing device with protective cap. Air inlet: With integrated bacteriological filter. Drop counting chamber: Transparent drip chamber, calibrated at 20 drops/ml, with 15-20μm fluid filter. Tubing: Transparent tubing, minimum length 150cm, with injection site latex or latex-free (or Y-injection port), with distal connector preferably Luer Lock connector. Precision flow regulator: Smooth roller clamp to facilitate easy, safe control and adjustment of fluid rates. Sterile Single use Conform to ISO 8536-4 Infusion equipment for medical use | Conform to ISO 8536-4 Infusion equipment for medical use | piecie | 3000
7 | Gause ( 10x 10 cms nin sterile 17 threads) | Technical Specifications Gauze bandage with selvedge. Non elastic, non adhesive, non detectable X-ray. Thread count: Warp: 12 threads/cm Weft: 8 threads/cm Weight: +/- 27.5g/m2 Components: Bleached, purified textile, plain weave Material: Absorbent gauze, 100% cotton Size selected: Bandage, gauze roll. Width: 7.5 - 8cm. Length: 4 - 5m. Single use. Non-sterile. | In accordance with MoH and WHO standard. | Rolls | 120
8 | SLIDE, frosted, 76 x 26 mm, tropicalized packaging | flat,clean,ready to use, autoclavable,made fo high quality glass material ,packing 50 slide per box | In accordance with MoH and WHO standard. | Box | 120
10 | Face Mask, surgical, type IIR, ear loop, disposal, pack 50 | Technical specifications: . Splash resistant, type IIR surgical mask . Bacterial filtering efficiency: equal to or greater than 98% . Breathing resistance: equal to or less than 49 Pa/cm2 . Splash resistance pressure: greater than 120 mmHg . Fabric, non-woven with outer layer impervious liquid splash resistant material, f.e. polyethylene . Comprised of 3 or 4 non-woven layers, size adequately covering nose, mouth and chin . Clearly identifiable inner and outer surfaces . With ear loop, allowing correct fixation . Size: 15-19 cm x 9-11 cm (l x w) . Non-sterile . Single use, disposable . 3 ply | NA | Box | 120
11 | Gloves, examination L | Nitrile, non-sterile, disp. - L |  | box of 101 | 20
12 | blood lancets | For blood glucose sampling. | In accordance with MoH and WHO standard. | box 100 | 25
13 | Stethoscope (Littman3M) - Stethoscope,binaural,complete. Stethoscope, binaural, with two diaphragms for dual-use (adult and paediatric auscultation) including spare diaphragms for adults and children. | TECHNICAL SPECIFICATIONS Comprises a chest piece connected by a double tube to the headgear with earpieces that are placed into the users’ ears. Double cup, with two diaphragms for dual-use (adult and paediatric auscultation) chest piece in zinc alloy. Adult diaphragm Ø: 45,5mm; paediatric diaphragm Ø: 31.5mm. Tube made of PVC and is crack resistant. Tube impervious to outside noises, guaranteeing full transmission of sound, good auditive quality. Tube diameter: outer diameter 10mm, inner diameter 4.8mm. Tube length 560mm. Sensitivity from 3.2dB to 26dB in a range from 50 to 1000Hz for cardiology. Sensitivity 8.1dB in a range from 600 Hz to 1,500Hz for pneumology. Arms: brass-steel with a flexible spring. Removable plastic earpieces. Latex-free. Designed for frequent and easy disassembly and disinfection with hospital-grade products. SUPPLIED WITH Instructions for assembly, use and maintenance in English, French and Spanish. 1 x spare adult diaphragm. 1 x spare paediatric diaphragm. 1 x set spare earpieces. |  | Pieces | 4
14 | Sphygmomanometer (mercury) | TECHNICAL SPECIFICATIONS Composed of a cuff containing an inflatable bag. The inflatable bag is connected via a tube to a bulb with an integrated manometer needle gauge. The cuff is made of durable material (e.g. nylon), which is non-deformable, and washable at 30°C. The cuff is fitted with double Velcro fastening, enabling a tight and secure fit around arms. The cuff is reinforced at both sides. Size cuff for adult. The bag is inflated by means of the flexible bulb connected via a tube. Material tube: rubber or other suitable material, e.g. silicone rubber, crack resistant. Length tube: 70 cm. Equipped with a universal quick connector for connection inflation bulb. Gauge graduated 0 - 300mmHg (min) in 2 (max) mmHg increments, with pressure release valve. Accuracy as per ISO 81060-1: +/- 3mm Hg. Latex and mercury free design. This model is designed to withstand shocks and vibration. Gauge body to allow recalibration of readings, yet in normal operation be sealed and secure. Calibration should only be done by the manufacturer or a authorized dealer. SUPPLIED WITH Instructions for assembly, use and maintenance in English, French and Spanish. 1 x Plastic protective case or pouch. |  | Pieces | 4
15 | sterile guaze | Sterile |  | box of 12 | 20
16 | Parafin guaze | Strerile |  | box of 30 | 20
17 | chromic 0-1 - suture | Strerile |  | box 12 | 10
18 | chromic 0- 2 - suture | Strerile |  | box 12 | 10
19 | Povidone Iodine 500 ml | The solution contains Povidone Iodine equivalent to 10% free Iodine. |  | bottle of 500 ml | 10
20 | Cannula, IV short, 18G, sterile, disposable, BOX-50 | Technical specifications: External diameter expressed in Gauge and mm. Length expressed in mm. Colour code/external diameter: Visible at the base of cannula. Components: Protecting cap, trocar, cannula, stopper, injection port Luer lock (all parts fit together to form a unit). Material: Trocar: stainless steel. Cannula: PTFE (Poly Tetra Fluoro Ethylene), FEP (Fluorinated Ethylene Propylene), PUR (Polyurethane). Size selected: 18G (1.30 x 45mm) green. Disposable. Sterile. Initial sterilization method: Ethylene oxide gas. | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | box of 100 | 30
21 | Cannula, IV short, 24G, sterile, disposable, BOX-50 | Technical specifications: Length expressed in mm. External diameter expressed in Gauge and mm. Colour code/external diameter: Visible at the base of cannula. Components: Protecting cap, trocar, cannula, stopper, injection port, Luer lock (all parts fit together to form a unit). Material: Trocar: stainless steel. Cannula: PTFE (Poly Tetra Fluoro Ethylene), FEP (Fluorinated Ethylene Propylene), PUR (Polyurethane). Size selected: 24G (0.70 x 19mm) yellow. Disposable. Sterile. Initial sterilisation method: Ethylene oxide gas. | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | box of 100 | 30
22 | Cannula, IV short, 20G, sterile, disposable, BOX-50 | Technical specifications: External diameter expressed in Gauge and mm. Length expressed in mm. Colour code/external diameter: Visible at the base of cannula. Components: Protecting cap, trocar, cannula, stopper, injection port, Luer lock (all parts fit together to form a unit). Material: Trocar: stainless steel. Cannula: PTFE (Poly Tetra Fluoro Ethylene), FEP (Fluorinated Ethylene Propylene), PUR (Polyurethane). Size selected: 20G (1.00 x 32 mm) pink. Disposable. Sterile. Initial sterilisation method: Ethylene oxide gas. | Manufacturers should be certified ISO, have FDA product approval, or be verified with CE marking, or health / national regulatory authority or Ministry of Health approval | box of 100 | 30
23 | Syringe, 10ml, sterile, Luer, disposable, box of 100, without needle | Technical specifications: Syringe capacity: 10ml Syringe graduation: Graduated scale on the barrel, easy to read. Scale intervals of 0.2 or 0.5 or 1.0ml. Graduation lines of 1.0 or 5.0 ml volume increment conform to ISO 7886-1:1993. Syringe Barrel: sufficiently transparent to allow easy measurement of the volume contained in the syringe and detection of air bubbles. Length with a maximum usable capacity of at least 10% more than the nominal capacity conform to ISO 7886-1:1993. Barrel Nozzle: Luer lock in accordance with ISO 594-2:1986 or luer slip in accordance with ISO 594-1:1986. Luer nozzle is centric or acentric. Syringe Material: medical grade plastic (Polyethylene (PE)/ polypropylene (PP)/ polystyrene (PS). Syringe: Disposable. Sterile, (ethylene oxide sterilisation and compiles to BS EN 550:1994-ISO 11135-1:2007) Standards: Product and packaging conform to ISO 7886-1:1993, BS EN 550:1994, ISO 11135-1:2007. Quality management system (QMS): Products and manufacturer must be certified and comply with ISO 13485: 2003 and 2008 requirements (or equivalent). Marketing approval certificate: Product and manufacturer must conform to European Directive MDD 93/42/EEC on Medical Devices (or equivalent). | Product and packaging conform to ISO 7886-1:1993, BS EN 550:1994, ISO 11135-1:2007. Quality management system (QMS): Products and manufacturer must be certified and comply with ISO 13485: 2003 and 2008 requirements (or equivalent). Marketing approval certificate: Product and manufacturer must conform to European Directive MDD 93/42/EEC on Medical Devices (or equivalent). | box of 100 | 50
24 | Syringe, 5ml, sterile, with detached (bi-packed / mounted) needle, 21Gx1 1/2" (0.80 x 40mm), disposable, box of 100. | Technical specifications: Syringe capacity: 5ml Syringe graduation: Graduated scale on the barrel, easy to read. Scale intervals of 0.2 or 0.5ml. Graduation lines of 1.0ml volume increment conform to ISO 7886-1:1993. Syringe Barrel: sufficiently transparent to allow easy measurement of the volume contained in the syringe and detection of air bubbles. Length with a maximum usable capacity of at least 10% more than the nominal capacity conform to ISO 7886-1:1993. Barrel Nozzle: Luer lock in accordance with ISO 594-2:1986 or luer slip in accordance with ISO 594-1:1986. The Luer nozzle shall be situated centrally. Syringe Material: medical grade plastic (Polyethylene (PE)/ polypropylene (PP)/ polystyrene (PS). Needle Components: Needle with base (Luer type fitting and complies with ISO 594-1:1986, ISO 594-2:1998 and BS EN 20594-1:1994), and protective cap. Needle Material: Stainless steel conform to ISO 9626-1:1991. Base and protective cap: medical grade plastic. Measurements:External diameter expressed in Gauge and millimeters. Length expressed in inch and millimeters. Size selected: 21Gx1 1/2” (0.8x40mm). Colour code: visible at the base of the needle and complies with ISO 6009-3:1992. Syringe with needle: bi-packed/ detached/mounted needle Disposable. Sterile, (ethylene oxide sterilisation and compiles to BS EN 550:1994-ISO 11135-1:2007) Standards: Product and packaging conform to ISO 7886-1:1993, ISO 7864:1993, ISO 9626-1:1991, BS EN 550:1994, ISO 11135-1:2007. Quality management system (QMS): Products and manufacturer must be certified and comply with ISO 13485: 2003 and 2008 requirements (or equivalent). Marketing approval certificate: Product and manufacturer must conform to European Directive MDD 93/42/EEC on Medical Devices (or equivalent). | Product and packaging conform to ISO 7886-1:1993, ISO 7864:1993, ISO 9626-1:1991, BS EN 550:1994, ISO 11135-1:2007. Quality management system (QMS): Products and manufacturer must be certified and comply with ISO 13485: 2003 and 2008 requirements (or equivalent). Marketing approval certificate: Product and manufacturer must conform to European Directive MDD 93/42/EEC on Medical Devices (or equivalent). | box of 100 | 50
25 | Autoclave (small). Sterilizer, steam, 20L, electric, w/access. Electric tabletop steam sterilizer (autoclave) with a minimum capacity of 20 Litres including accessories. This unit is suitable for sterilization of full solid, porous, hollow A and B, plastics, rubber, unwrapped, bagged, single or double wrapped. Not designed for sterilization of liquids, food stuffs or waste. | TECHNICAL SPECIFICATIONS The internal chamber is made from stainless steel 316L. The internal chamber has a volume between 20 and 22L. Vacuum relief line should be filtered with ≤0.3 µm pore size to allow sterile air into chamber. The unit has at least one 3 internal shelfs/trays. The unit has a standard program at 2.2 bar at a temperature of 134°C. The unit has a standard program between 1.0 and 1.1 bar with a temperature between 118 – 121°C. The unit is fitted with a safety lock on the front door, preventing the door to be opened when the unit is under pressure. The unit is provided with an automatic cycle shut-off. The unit provided with an internal water tank with a minimum capacity of 4 litres. The unit equipped with a steam generator. The unit is fitted with a water circuit filter. The unit is designed in such a way that outer surfaces remain at safe temperatures when the unit is in operation. The unit is designed and constructed in such a manner that it is able to withstand frequent disinfection with hospital-grade products. The unit's power requirements do not exceed 3 kW. The unit work on a single-phased power grid. Power requirements: 230 Volts - 50/60 Hz. (110 Volt units are not available). DISPLAY FEATURES The unit is fitted with a front panel providing information on the unit. The display indicates: - The time until the programme is finished. - The current internal temperature. - The current internal pressure. - The ongoing cycle - Any alerts or alarms. ALARM AND SAFETY FEATURES Alarms are audible as well as visual. Alarms are available for/when: - Low water. - Door not closed. - Exceeding high temperature limit. - Failed cycles. - Temperatures are about to reach limits of the equipment. - Pressures are about to reaching limits of the equipment. - Power failure A notification that the end of sterilization cycle has been reached. The unit is provided with an over-pressure safety valve and an over-temperature safety system. SUPPLIED WITH Instructions for assembly, use and maintenance in English, other languages on request. 1 x Plastic protective dustcover. 3 x sterilizer baskets. 3 x spare gaskets (chamber/door) in sealed packages. 1 x set of spare fuses, if required. Supplied with the Filtration system or distiller solution which will allow the unit to accept so-called "hard water", (water with high mineral content, especially calcium and magnesium) without causing internal damage and/or deposits. | NA |  | 1
Transportation to Gadarif
VAT
Total Cost

## Equipment2 GD
OX Humanitarian Relief - Medical Equipment 2
| Item Description | Specifications | Unit | Quantity | Unit Cost | Total Cost
1 | ICT for malaria | ICT for malaria Test | Box | 360
2 | ICT for H.pylori | ICT for H.pylori Test | Box | 360
3 | ICT for Typhoid | ICT for Typhoid Test | Box | 360
4 | ICT for HCG | ICT for HCG Test | Box | 360
5 | Gauze bandage | 7,5 cm x 4,5 m | Pcs | 1800
6 | HP mater | Test result in 15 seconds Package Contents:1x Meter,25x Strips,25xLancets | Pcs | 40
7 | Urine container | Individually wrapped aseptic with label / capacity 60 ml | Pcs | 5000
8 | Stool container | Plastic/ capacity 30 ml | Pcs | 5000
9 | Plaster | 72 mm x 19 mm | Pcs | 500
10 | Pipette | Automatic single-channel pipette size 20 ml, 100ml, 1000 ml | Pcs | 100
11 | ICT for HIV | ICT for HIV test | Box | 30
12 | ICT for HBV | ICT for HBV | Box | 30
13 | ICT for Syphilis | ICT for syphilis | Box | 30
14 | Glucose | Glucose Oxidase, Hexokinase, or Alcohol Dehydrogenase | bottle | 30
15 | Alcohol Reagent | Bottle, 60ml - Wide Mouth with Screw Cap - | Bottle | 100
16 | Cover Slide | Super white Microscope cover glass | Box | 100
17 | Slide | 76×26 mm | Box | 100
18 | Tube (EDTA Tube with purple cap 100pcs of wrap packaging) | EDTA Tube with purple cap 100pcs of wrap packaging | Packet | 50
19 | Tube (5ml Tube with red cap 100pcs of wrap packaging) | 5ml Tube with red cap 100pcs of wrap packaging | Packet | 50
20 | Tube (5ml Heparin Tube with green cap 100pcs of wrap packaging) | 5ml Heparin Tube with green cap 100pcs of wrap packaging | Packet | 50
21 | Guaze | Medline 4 x 4 inch Gauze Sponges, 100% Cotton, 8-Ply Woven Non-Sterile Gauze | Box | 100
22 | Lancet | Twist Lancet | Box | 100
23 | Glashial (GAA) | Pure Original Ingredients Salicylic Acid Crystals (8 oz) 2-Hydroxybenzoic Acid, Always Pure, No Fillers Or Additives | Bottle | 90
Transportation to Gadarif
VAT
Total Cost