## Sheet1
BOQs for rehabilitation of Shanfor water yard
No. | Description | Unit | QTY | Unit price SDG | Total price SDG
1. | Rehabilitate manhole and that include to complete the building of manhole with red brick and sand cement mortar, plastering and provide and fix cover above the manhole from angled steel frame and steel plates, and replace 2 valve3" and 3 valves 2" | job | 3 |  | 0
2. | Provide excavate and lay 2 inch diameter plastic pipe from the elevated link to the heath center with 2" valve and manhole and connect the end of the pipe with ground storage tank at the heath center | m.l. | 370 |  | 0
3. | Provide new invertor with all its accessories | No. | 1 |  | 0
4. | Rehabilitate the elevated tank (Checking the leakage and external paint. | job | 1 |  | 0
5. | Labor cost | job | 1 |  | 0
| Signboard with donor and RI logo | job | 1 |  | 0
| Total |  |  |  | 0