**Supplier Price Submission - Solar Panel / Battery Bank / Invertor**

**Project Title:** Supply and Installation of Solar Power System for Al Managil Hospital
**Supplier Name:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
**Date:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
**Currency:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (USD/SDG)

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item No. | Description | Unit | Quantity | Unit Price | Total Price | Remarks |
| 1 | Solar Panel – 550W, 48V | pcs | 229 |  |  | Include mounting hardware |
| 2 | Battery – 200Ah, 48V (Deep-cycle) | pcs | \_\_\_ |  |  | Please fill the Quantity, Specify type: Li-ion/GEL/etc. |
| 3 | Inverter – 129.86 kW, Pure Sine Wave, 48V DC Input | pcs | 1 |  |  | Include remote monitoring |
| 4 | Mounting Structures for Solar Panels | lot | 1 |  |  | Specify type (roof/ground) |
| 5 | Cables, Connectors & Wiring Accessories | lot | 1 |  |  | Include all DC/AC cabling |
| 6 | Combiner Boxes, Isolators, Breakers & Safety Devices | lot | 1 |  |  | For both DC and AC sides |
| 7 | Battery Management System (BMS) | pcs | 1 |  |  | Compatible with battery type |
| 8 | System Design and Engineering | job | 1 |  |  | Include load and PV design |
| 9 | Installation, Testing & Commissioning | job | 1 |  |  | Turnkey installation |
| 10 | Transportation and Logistics | job | 1 |  |  | Delivery to site |
| 11 | Training & O&M Manual | job | 1 |  |  | On-site training session |
|  | **Total Cost (Excl. VAT/Tax)** |  |  |  |  |  |
|  | VAT/Tax (if applicable) |  |  |  |  | Specify rate and amount |
|  | **Grand Total (Incl. VAT/Tax)** |  |  |  |  |  |
|  | **Warranty Offered (in years)** |  |  |  |  | Solar Panels: \_\_ / Inverter: \_\_ / Batteries: \_\_ |
|  | **Delivery Lead Time** |  |  |  |  | In calendar days |