Enhancing Community Resilience Project (THABAT) – AF1

Employer: Mercy Corps

Project: Enhancing Community Resilience Project (THABAT) – AF1

Contract title: Service Provider to Operate 30 Child Friendly Spaces [CFS]

Loan No. /Credit No. / Grant No.: P181490

RFB No: SD-MC-511185-NC-RFB

To: 	All Bidders

Date:	October 19th, 2025

Re: Addendum Number No 1- Contractor/s to Construct 30 Child Friendly Spaces [CFS], in 5 Locations in Gedaref State, Sudan.

Bidders are requested to consider the above amendments and clarifications while preparing their bids.

| Contractors to Construct 30 Child Friendly Spaces [CFS], in 5 Locations in Gedaref State, Sudan. |  |  |  |  |
| --- | --- | --- | --- | --- |
| QUESTIONS/Queries |  |  |  | ANSWERS |
| No | RFB paragraph | Page | Description |  |
| 1 |  |  | BOQ 3: A. As BOQ in Item 1 the quantity of vertical posts are 14 & in Item 2 the quantity of trusses are 6 (this Quantity not suitable with No of posts). As Drawings the quantity of trusses are 7. | Number of posts = 14 Number of trusses =7 |
| 2 |  |  | As BOQ in Item 3 the diameter of circular steel pipes is 1 inch while the diameter of circular steel pipes is 1.5 inch as Drawings. | Circular steel pipe for purlins is 1 inch, 1mm thick |
| 3 |  |  | BOQ 5: The P.C of floor latrine stated on Drawings but not mentioned with BOQ. | Plain Concrete flooring is added (BOQ 5- Item no. 16) |