Enhancing Community Resilience Project (THABAT) – AF1
 Employer: Mercy Corps
Project: Enhancing Community Resilience Project (THABAT) – AF1 
Contract title: Service Provider to Operate 30 Child Friendly Spaces [CFS]
Loan No. /Credit No. / Grant No.: P181490	
RFB No: SD-MC-511185-NC-RFB



To: 	All Bidders

Date:	October 19th, 2025
		
Re: Addendum Number No 1- Contractor/s to Construct 30 Child Friendly Spaces [CFS], in 5 Locations in Gedaref State, Sudan.

Bidders are requested to consider the above amendments and clarifications while preparing their bids.
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	Contractors to Construct 30 Child Friendly Spaces [CFS], in 5 Locations in Gedaref State, Sudan.

	QUESTIONS/Queries
	ANSWERS

	No
	RFB paragraph
	Page
	Description
	

	1
	
	
	BOQ 3:
A. As BOQ in Item 1 the quantity of vertical posts are 14 & in Item 2  the quantity of trusses are 6 (this Quantity not suitable with No of posts).
As Drawings  the quantity of trusses are 7.
	Number of posts = 14
Number of trusses =7


	2
	
	
	As BOQ in Item 3 the diameter of circular steel pipes is 1 inch while  the diameter of circular steel pipes is 1.5 inch as Drawings.
	Circular steel pipe for purlins is 1 inch, 1mm thick


	3
	
	
	BOQ 5:
The P.C of floor latrine stated on Drawings but not mentioned with BOQ.

	Plain Concrete flooring is added (BOQ 5- Item no. 16)










	
