## BoQ -Block 59
BoQ for the rehabilitation of Water Yard in Althawra Block 59, Karary locality - Khartoum satate -SHF 48Hrs -WASH
SN | Discription | Unit | Qty | Unit Cost SDG | Total Cost SDG
10 | Supply of good quality galvanized steel pipes, 3-inch diameter, 6 meters length, 3 mm thickness, for borehole use. | pipe | 15 |  |  | did you confirm there is no need to change the pump ?
11 | Replacement of the existing pipes in the borehole and installation of new galvanized steel pipes, 3-inch diameter, 6 meters length, 3 mm thickness. | job | job
12 | Mobilization to site Mobilization shall consist of all preparatory works necessary for the commencement of activities, including but not limited to the movement of personnel, equipment, materials, supplies, and other incidentals to the project site located in Althawra Block 59, Karary Locality. | job | 1
Sub Total
17% VAT
Grand Total in SDG

## BoQ -Block 81
BoQ for Procurement and rehabilitation of Water Yard in Al thawra Block 81, karary locality-khartoum satate -SHF 48Hrs -WASH
SN | Discription | Unit | Qty | Unit Cost SDG | Total Cost SDG
1 | Supply and construct public tap stand using red bricks or cement blocks as per the approved specifications and drawings. The structure shall include one bucket stand and five 1-inch MAK-type taps connected through a 2-inch gate valve. All pipes and fittings shall be galvanized steel, installed in accordance with standard practice. The tap stand shall be plastered with a mortar mix ratio of 1:6 (cement to sand) and painted with weather-resistant paint. The work shall also include leveling of the ground and construction of a drainage system using 3-inch nominal diameter polyethylene (polythene) pipes conforming to Khartoum State Water Corporation (KSWC) guidelines and ISO international standards. The drainage pipe will extend from the tap stand to the designated drainage area as specified by the LMI-WASH guidelines, with a minimum drainage length of five meters. | job | 1
2 | Connection of the existing donkey cart stand filling pipe shall be made using a 2-inch hose with a length of 5 meters, securely connected to the top of the stand filling pipe. All works shall be carried out in accordance with approved specifications and the instructions of the LMI-WASH guidelines | ml | 5
3 | Supply and construction of a two-meter-height fence using chain wire (gabion mesh) (4 mm) fixed on steel posts consisting of 2-inch diameter pipes with 2.8 mm wall thickness and a total length of 2.5 meters, of which 2.25 meters shall remain above ground level and 0.5 meter shall be embedded below ground level, including the bending length. The steel posts shall be spaced at two-meter intervals and supported with skewer wires (3 Linya 12/6 m) placed at the top, bottom, and middle levels. Each post shall be fixed in a plain concrete base measuring 40 cm × 40 cm × 60 cm. The fencing shall enclose the existing water station area measuring approximately 29 m × 12 m around the solar panels, with a 12-meter partition separating the solar array and the tap stand. At each of the four corners, a 3-inch diameter steel pipe (2.8 mm thickness) shall be installed, reinforced with two 1-meter-long 2-inch steel support pipes (2.8 mm thickness) to ensure stability. For the mini water yard section, the top of the fence shall include pipes bent at a 25 cm angle and fitted with three rows of barbed wire for additional protection. | ML | 94
4 | A single gate shall be fabricated from decorative expanded metal(iron sheet) , designed to be lockable and securely fixed on a 1.5-inch steel angle with 3 mm thickness, which is welded to 3-inch galvanized steel posts with 2.8 mm wall thickness. The gate shall have overall dimensions of 2 meters in height and 1 meter in width. All other specifications shall be carried out in accordance with the LMI-WASH technical guidelines. | job | 1
5 | Double gates shall be fabricated from decorative expanded metal, designed to be lockable and securely fixed on 2-inch steel angles with 3 mm thickness, which are welded to 4-inch galvanized steel posts with 2.8 mm wall thickness. The double gate shall have overall dimensions of 2 meters in height and 3 meters in width. All other specifications shall be carried out in accordance with the approved drawings and LMI technical guidelines. | job | 1
6 | Construction of a guard room using cement blocks with cement mortar mixed at a ratio of 1:6 (cement to sand). The room shall have overall dimensions of 3.5 meters by 3.5 meters, with a height of 2.60 meters at the front side and 2.40 meters at the back side to allow for roof slope. The roof shall be covered with 33 mm corrugated zinc sheets fixed on a suitable steel or timber frame. The structure shall include one door measuring 2.0 meters by 1.2 meters and two windows measuring 1.2 meters by 1.0 meter each. All construction works shall be executed in accordance with the approved drawings, specifications, and guidance provided by LMI. | m2 | 55
7 | Supply and installation of High Density Polyethylene (HDPE) pipe, 2-inch diameter with an internal pressure rating of 10 bar, including all necessary galvanized fittings and accessories. The work shall include excavation of trenches measuring 40 cm in width and 50 cm in depth, supply of sand for bedding and covering the pipeline, and refilling with the excavated earth. The installation shall serve as a distribution water network from the tank to the public tap stand over a length of 10 meters. | M | 10
8 | Supply and installation of a new elevated plastic water tank (Tiga) with a capacity of 2000 liters. The price shall include all necessary installation accessories such as painting,cleaning .etc, and including an overflow pipe, float level valve, outlet and inlet pipes, and wash pipe. All works shall be carried out in accordance with approved specifications and the instructions of the LMI. | PC | 1
9 | Mobilization to site Mobilization shall consist of all preparatory works required for the project, including, but not limited to, the movement of personnel, equipment, supplies, and other incidentals to the project site located in Althawra Block 81, Karary Locality. | job | 1
Sub Total
17% VAT
Grand Total in SDG

## BoQ -Almadanab area
BoQ for rehabilitation and solaraization of Water Yard in Almadanab (fatasha) , Ombada locality - khartoum satate -SHF 48Hrs -WASH
SN | Discription | Unit | Qty | Unit Cost SDG | Total Cost SDG
1 | Supply and installation of a good quality solar power system to provide electricity for operating the submersible pump. The solar panels shall have a minimum efficiency of 20% and a capacity of 550 W, preferably Jinko or equivalent GSB type. The system shall be designed to adequately power a submersible pump with specifications of 7.5 HP (5.5 kW). All works shall be carried out in accordance with approved specifications, manufacturer guidelines, and the instructions of the LMI-WASH Technical Guidelines and KSWC. | panel | 14
2 | Supply and installation of a European inverter (Power Back Dual System) to convert AC power to DC with a capacity of 5.5 kW, preferably GSB type. All works shall be carried out in accordance with approved specifications, manufacturer guidelines, and the instructions of the LMI-WASH Technical Guidelines and KSWC. | inverter | 1
3 | Control panels and all necessary accessories required for proper operation, installation, and safety. | PC | 1
4 | cable for solar system( 60 - 70) A , 6mm | M | 30
5 | The solar system shall be installed and securely fixed on a steel carrier with a height of 1.5 meters, with the front side at 1 meter and the back side at 1.5 meters, and furnished with front and back ladders. The carrier shall be oriented according to the angles of sunlight in the area throughout the year. The structure shall be constructed using heavy steel angles, with 3-inch × 5 mm for the main pillars and 2-inch × 3 mm for the frame and bracers. A protection frame for the slides shall also be provided, using appropriate steel materials, in accordance with the instructions of the LMI-WASH Technical Guidelines and KSWC. | panel | 14
6 | Construction of public Tap -stands from redbrick or cement block as per specifications &drawings with one bucket stands and 5 taps1” MAK type. And 2” gate valve. All pipesand fittings should be galvanized steel (plastering with mortar 1:6 cement andpainting is required)Price should include the cost of (leveling ground). And drainage system usingPolythine pipe 3” nominal diameter (ISOInternational pipe standards) from the tapstand to reach the drainage area as specify by the WASHcoordinator. Minimum length of the drainageline from the tap stand should be 5ML . | job | 1
7 | Construction of donkey cart stand filling pipe 2.5 meter length from the platform 2 inch galvanized steel pipe supported with plain concrete (20 cm *20 cm * 30 cm height at the bottom and supported with two steel pipes 1m | job | job
8 | Supply and construction of 2-meter height fence made of galvanized steel chain-linkwire (4 mm) fixed on 2 meter height (2.25m of pipe should be above ground leveland 0.5 m below ground level including the bending length), 2 inch steel pipe 2.8mm, spaced at 2 meters distances withskewer 3 Linya 12/6m (at top, bottom and the middle), the 2 inch steel pipes (posts)will be erected in a 40 * 40 * 60 cm plainconcrete base,around the existing waterstation as 29 *12 m around the Solar panels withe 12 ml partiton between solar and tap-stan. Steel pipe 3inch 2.8 mm should be fixed with two supported one meter steel pipe 2 inch2.8mm at the four corners of the fence. For the mini water yard at the top of the fencing the Pipes should be blended with suitable angel by 25cm length and bounded with three rows of barbed wire. | ML | 71
9 | Supply and installation of a single gate fabricated from decorative expanded metal, lockable, fixed on 1.5-inch × 3 mm steel angles, welded to 3-inch diameter galvanized steel posts with 2.8 mm thickness. The gate dimensions shall be 2 meters in height and 1 meter in width. All other specifications shall follow the instructions of the LMI-WASH Technical Guidelines | job | 1
10 | Double gates shall be manufactured from expended metal (decoration), lockable fixed on 2 inch angled ion thickness 3mm which is welded to 4 inch posts galvanized pipe thickness 2.8mm. Double gate dimensions: 2-meter height 3-meter length other specifications will be according to the drawings or WASH coordinator advise | job | 1
11 | Rehabilotation of elveted water tank at botom plate to avoid water flow | job | job
12 | Supply and installation of High Density Polyethylene (HDPE) pipe, 2-inch diameter with an internal pressure rating of 10 bar, including all necessary galvanized fittings and accessories. The work shall include excavation of trenches measuring 40 cm in width and 50 cm in depth, supply of sand for bedding and covering the pipeline, and refilling with the excavated earth. The installation shall serve as a distribution water network from the tank to the public tap stand over a length of 10 meters. | M | 65
12 | Mobilization to site Mobilization shall consist of preparatory work including, but not limited to, those necessary to the movement of personnel, equipment, supplies and incidentals to the project sites in madanab (fatasha) , ombada locality . | job | 1
Sub Total
17% VAT
Grand Total in SDG

## BoQ -Fatasha Awala Balola
BoQ for rehabilitation and solarization of Water Yard in Fatasha Awlad palula, Ombada locality - Khartoum satate -SHF 48Hrs -WASH
SN | Discription | Unit | Qty | Unit Cost SDG | Total Cost SDG
1 | Supply and install of good quality electric Solar to provide electric power to operate the submersible pumps the panels should not be less than 20% efficient the panel should be 550 w jinko our GSB typ the pump sbecification is (15 HP) 11 KW | panel | 28
2 | Supply and installation pof European inverter key (Power back dual system) to convert the power AC To DC 11 KW , GSB typ | inverter | 1
3 | control panels and all the necessary accessories. | PC | 1
4 | cable for solar system( 60 - 70) A , 6mm | M | 40
5 | The solar system should be installed and fixed on steel carrier with 1.5meter height (front side 1m and back side 1.5m) furnished with front and back ladders according to the angles of the sunlight in the area during the year, and such carrier should be made of heavy steel angle 3 inch 5mm for main pillars and 2 inch 3mm for frame and bracers, with protection frame for the slides using appropriate steel materials according to the WASH Coordinator instructions | panel | 28
6 | Supply and construct public tap stand using red bricks or cement blocks as per the approved specifications and drawings. The structure shall include one bucket stand and five 1-inch MAK-type taps connected through a 2-inch gate valve. All pipes and fittings shall be galvanized steel, installed in accordance with standard practice. The tap stand shall be plastered with a mortar mix ratio of 1:6 (cement to sand) and painted with weather-resistant paint. The work shall also include leveling of the ground and construction of a drainage system using 3-inch nominal diameter polyethylene (polythene) pipes conforming to Khartoum State Water Corporation (KSWC) guidelines and ISO international standards. The drainage pipe sha ll extend from the tap stand to the designated drainage area as specified by the LMI-WASH guidelines, with a minimum drainage length of five meters. | job | 1
7 | Construction of a donkey cart stand including a 2.5-meter-long 2-inch galvanized steel pipe extending from the platform. The pipe shall be supported with plain concrete bases measuring 20 cm × 20 cm × 30 cm in height at the bottom and reinforced with two 1-meter steel support pipes to ensure stability and durability. All works shall be carried out in accordance with approved specifications and the instructions of the LMI-WASH guidelines | job | job
8 | Supply and construction of 2-meter height fence made of galvanized steel chain-linkwire (4 mm) fixed on 2 meter height (2.25m of pipe should be above ground leveland 0.5 m below ground level including the bending length), 2 inch steel pipe 2.8mm, spaced at 2 meters distances withskewer 3 Linya 12/6m (at top, bottom and the middle), the 2 inch steel pipes (posts)will be erected in a 40 * 40 * 60 cm plainconcrete base,around the existing waterstation as 29 *12 m around the Solar panels withe 12 ml partiton between solar and tap-stan. Steel pipe 3inch 2.8 mm should be fixed with two supported one meter steel pipe 2 inch2.8mm at the four corners of the fence. For the mini water yard at the top of the fencing the Pipes should be blended with suitable angel by 25cm length and bounded with three rows of barbed wire. | ML | 105
9 | Single gate shall be manufactured from expended metal (decoration), lockable fixed on steel angle 1.5 inch 3mm whichis welded to3 inchthickness 2.8 mm posts galvanized pipe. Single gate dimensions:2-meter height 1-meter length other specifications will be according to the LMI WASH guidelines. | job | 1
10 | Double gates shall be fabricated from decorative expanded metal, designed to be lockable and securely fixed on 2-inch steel angles with 3 mm thickness, which are welded to 4-inch galvanized steel posts with 2.8 mm wall thickness. The double gate shall have overall dimensions of 2 meters in height and 3 meters in width. All other specifications shall be carried out according to the approved drawings or as advised by the LMI WASH guidelines. | job | 1
11 | Rehabilitation of the elevated water tank shall include repairing the bottom plate to prevent water leakage and painting the tank. All works shall be executed in accordance with approved specifications and the LMI-WASH guidelines. | job | job
12 | Supply and installation of High Density Polyethylene (HDPE) pipe, 2-inch diameter with an internal pressure rating of 10 bar, including all necessary galvanized fittings and accessories. The work shall include excavation of trenches measuring 40 cm in width and 50 cm in depth, supply of sand for bedding and covering the pipeline, and refilling with the excavated earth. The installation shall serve as a distribution water network from the tank to the public tap stand over a length of 10 meters. | Ml | 40
12 | Mobilization to site Mobilization shall consist of preparatory work including, but not limited to, those necessary to the movement of personnel, equipment, supplies and incidentals to the project sites in fatasha awlad balola , ombada locality . | job | 1
Sub Total
17% VAT
Grand Total in SDG