## Annex A.1 Bid Form (Technical)
|  | Annex A1. ITB-SDN_PZUT_2025_022_Solarization System -LOT 01-Kosti | [6 empty] | Annex A.1 Bid Form (Technical)
DRC to complete | [6 empty] | Bidder to complete
# | Item | Description Item | Delivery Site | Unit | Estimated Quantity | Item/Milestone offered/Brand Name |  | Country of Origin | Quantity offered
1 | Solar Panels | Supply, Delivery, and Installation of Solar Panels Specifications: • Type: Solar Panels • Power Output: (580- 590W, 14.8A, 48V) • Current: 14.8A • Voltage: 48V • Warranty: 25 Years Installation of a robust and durable metallic frame (18-gauge) suitable for supporting solar panels, in compliance with all relevant safety and quality standards. | White Nile Kosti | Each | 108 | 24
2 | Batteries | Supply and Delivery of Batteries Similar to Lithium Batteries (10 kW, 200 A, 48V, 6000 -8000 Cycle Life) with 10 Years Warranty. | White Nile Kosti | Each | 6 | 2
3 | Inverte | Supply and delivery of Inverter (10-14KW 3phase On-Grid, DC to AC, AC to DC, AC to AC, DC to DC) with 5 Years Warranty | White Nile Kosti | Each | 6
4 | Switch (ATS) | Automatic Transfer Switch (ATS) For PV, Grid, and Generator power switching 100A | White Nile Kosti | Each | 1 | 0.11111
5 | Cable | Supply and delivery of Cable (6mm) fixawal | White Nile Kosti | Meter | 100 | 22.2222
6 | Fuse Box | Supply and delivery of Fuse Box (AC and DC Fuses, Pass Bar, Overload Protection, and Accessories) | White Nile Kosti | set | 1 | 0.22222
7 | Accessories | Additional Required Accessories (Connectors, Mounting Kits, etc.) | White Nile Kosti | set | 1 | 0.22222
8 | PVC | 32mm PVC duct | White Nile Kosti | Meter | 25
DRC to complete | [5 empty] | Bidder to complete
Delivery time required (days after contract signature): | [5 empty] | Delivery time offered (days after PO signature):
Delivery Terms required (Add Incoterm if necessary): | [5 empty] | Delivery Terms offered (must include incoterm):
Delivery Destination required: | [5 empty] | Delivery Destination offered:
Minimum bid validity period required: | [5 empty] | Bid validity period offered:
Additional comments to bidders: • Samples are a mandatory requirement part for this bid. Any bid without samples will be rejected. The submitted samples of non-awarded bidders may be returned to the bidder at its own cost after the award is completed. The samples of the selected bidder will remain with DRC as part of the bid, Selected quality of samples should be maintained throughout the entire duration of the contract. Samples submitted should each be clearly marked with the same item number that is used on the DRC Bid Form (Annex A). Sample packaging shall be clearly marked ‘Samples’ with the ITB number and the Bidder’s name etc. Samples shall be received at the same place as the ‘hard copies’ of the Bid. | [5 empty] | Company Name:
Contact Person:
[6 empty] | Address: |  | Phone number:
[6 empty] | Email Address: |  | Date:
Signed by a duly authorized company representative:
Title:
Print Name:
Stamp of company

## Annex A.2 Bid Form (Financial)
|  | Annex A2. ITB-SDN_PZUT_2025_022_Solarization System -LOT 01-Kosti | [5 empty] | Annex A.2 Bid Form (Financial)
DRC to complete | [5 empty] | Bidder to complete
# | Item | Item/Milestone Required | Delivery Site | Unit | Estimated Quantity | Quantity offered | Unit Price | Total Price
1 | Solar Panels | Supply, Delivery, and Installation of Solar Panels Specifications: • Type: Solar Panels • Power Output: (580- 590W, 14.8A, 48V) • Current: 14.8A • Voltage: 48V • Warranty: 25 Years Installation of a robust and durable metallic frame (18-gauge) suitable for supporting solar panels, in compliance with all relevant safety and quality standards. | White Nile Kosti | Each | 108
2 | Batteries | Supply and Delivery of Batteries Similar to Lithium Batteries (10 kW, 200 A, 48V, 6000 -8000 Cycle Life) with 10 Years Warranty. | White Nile Kosti | Each | 6
3 | Inverte | Supply and delivery of Inverter (10-14KW 3phase On-Grid, DC to AC, AC to DC, AC to AC, DC to DC) with 5 Years Warranty | White Nile Kosti | Each | 6
4 | Switch (ATS) | Automatic Transfer Switch (ATS) For PV, Grid, and Generator power switching 100A | White Nile Kosti | Each | 1
5 | Cable | Supply and delivery of Cable (6mm) fixawal | White Nile Kosti | Meter | 100
6 | Fuse Box | Supply and delivery of Fuse Box (AC and DC Fuses, Pass Bar, Overload Protection, and Accessories) | White Nile Kosti | set | 1
7 | Accessories | Additional Required Accessories (Connectors, Mounting Kits, etc.) | White Nile Kosti | set | 1
8 | PVC | 32mm PVC duct | White Nile Kosti | Meter | 25
Total cost (including packing and delivery loading and unloading) | [6 empty] | Sub-total | 0
Any other costs (please specify)
[7 empty] | Total Price | 0
DRC to complete | [5 empty] | Bidder to complete
Delivery Destination required: | [5 empty] | Delivery Destination offered:
Minimum bid validity period required: | [5 empty] | Bid validity period offered:
Currency of Tender: | [5 empty] | Currency of Bid:
Additional comments to bidders: • Samples are a mandatory requirement part for this bid. Any bid without samples will be rejected. The submitted samples of non-awarded bidders may be returned to the bidder at its own cost after the award is completed. The samples of the selected bidder will remain with DRC as part of the bid, Selected quality of samples should be maintained throughout the entire duration of the contract. Samples submitted should each be clearly marked with the same item number that is used on the DRC Bid Form (Annex A). Sample packaging shall be clearly marked ‘Samples’ with the ITB number and the Bidder’s name etc. Samples shall be received at the same place as the ‘hard copies’ of the Bid. | [5 empty] | Company Name:
Signed by a duly authorized company representative:
Title:
Date:
Print Name:
Stamp of company