Human Appeal – UK/Sudan

منظمة هيمن ابيل البرطانية

REQUEST FOR QUOTATION (RFQ)

| Reference: | SD-26-01 Tender |  |
| --- | --- | --- |
| Supplier Name |  |  |  |  |  |
| Contact#: |  |  |  |  | رقم الاتصال: |
| Address: |  |  |  |  | العنوان: |
| # Human Appeal -UK is a UK based International Relief and Development Organization providing humanitarian aid during emergencies and working for long-term development of World’s poorest nations. |  | منظمة هيمن ابيل البرطانية منظمة دولية للإغاثة والتنمية مقرها المملكة المتحدة، تقدم المساعدات الإنسانية خلال حالات الطوارئ وتعمل من أجل التنمية الطويلة الأجل لأفقر دول العالم. |  |  |  |

| Human Appeal -UK takes this opportunity to request to | منظمة هيمن ابيل البرطانية |
| --- | --- |
| TERMS & CONDITION | الشروط |
| - General Condition: | - شروط عامة |
| - Quoted prices for the above items shall be inclusive of all kind of required material, govt. taxes and duties as per prevailing Tax Laws of Govt. of Sudan, Transportation, and Custom Clearance and port taxes (if any). - Quoted prices of food must be according to quantities and specifications mentioned in the request of quotation. - The prices provided in Sudanese Pound. - Payments are made in the form of cheque after receipt of water Lines as per attached table of quantities and specifications. - Human Appeal – UK/Sudan reserves the right to reject any or all quotations without assigning any reason thereof - Expected lead time required for delivery of goods/services must be mentioned on your quotation. - Bidder must submit the below: - Experience certificate in the field - Certificate of Completion of Similar Projects - The Bill of Quantities must be completed electronically (shared as a filled PDF). Handwritten BOQs will not be accepted. - Submit a copy of the company profile, including details on human resources and assets. - Provide a technical and financial offer. - Include a project schedule. - Highlight relevant company experience. | - يجب ان تشمل الاسعار المقدمة كافة الرسوم الحكومية المطلوبة من الضرائب (وفقا للقوانين الضريبية للحكومة السودانية)، التخليص الجمركي، الموانئ ان وجدت، واي رسوم قانونية اخري - يجب أن تكون المواد وفق جدول الكميات المرفق.وفقا للكميات والمواصفات المذكورة في طلب عرض الاسعار. - تكون الأسعار المقدمة بالجنيه السوداني - يتم الدفع بشيك بعد توريد المواد .وفقاً لجدول الكميات والمواصفات المرفق. - تحتفظ منظمة هيمن ابيل البرطانية بالحق في رفض أي أو كل المناقصات دون إبداء أي سبب من الأسباب - يجب ارفاق جدول زمني للفترة المتوقعة لتوريد/اكمال الأشياء المطلوبة - يجب ارفاق الشهادات التالية: - شهادة مزاولة المهنة - شهادة انجاز مشاريع مثيلة نود إحاطتكم علماً بضرورة الالتزام بالتالي عند تقديم العطاء: - يجب تعبئة جداول الكميات إلكترونياً (وتسليمها بصيغة PDF بعد التعبئة). لن يتم قبول جداول الكميات المكتوبة بخط اليد. - إرفاق نسخة من الملف التعريفي للشركة، متضمناً معلومات واضحة حول الموارد البشرية والممتلكات (الآليات والمعدات). - تقديم العرض الفني والعرض المالي بشكل منفصل وواضح. - إرفاق جدول زمني للتنفيذ يوضح مراحل المشروع والفترة المتوقعة لكل مرحلة. - توضيح الخبرات السابقة للشركة في مجالات العمل المشابهة، مع ذكر المشاريع ذات الصلة. |
| - BID SUBMISSION: Please submit the quotations addressed to Tender Box Deadline: 12/4/2026 Submission Method: Email : - SD-26-01.tender@humanappeal.org.uk Or Physical Address Sudan Near Old Masajed Alwadi Street, Alshati City, Omdurman, Sudan Contact Person: [Qusai Hasaballah by 4:00 PM on or before 12-4-2026. | - تقديم المناقصة: يتم تسليم العروض والاسعار الى 4.00 12-4-2026 |
| - VALIDITY OF BID Bids shall remain valid for at least 4 days from the date of opening, if the lastdate falls on a holiday, the validity shall be extended to the next working day of the organization | - صلاحية المناقصة: تظل المناقصة صالحة لمدة 4 أيام من تاريخ فتحها , إذا كان أخر تاريخ يقع فى عطله , يتم تمديد الصلاحيه إلى يوم العمل التالى للمنظمه . |

| BOQ for Construction of one water yard equipped with a solar power system.. |
| --- |
| BOQ |  |  |  |  |  |  |
| HA - Sudan |  |  |  |  |  |  |
| # | Items | Unit | Quantity | Unit Cost (SDG) | Total Cost SDG | Total cost (USD) |
| 1 | Mobilization of equipment, personnel and construction materials, The item is inclusive of site clearing and levelling. | Lum sum | 1 | 200,000 | 200,000 | 67.79 |
|  | The line include supply and install solar power system |  |  |  |  |  |
| 2 | Provide and installation of Inverter Motor 11 KW, 380 Rated Output Power 11kw,( VFD, equivalent to VEICH type), Absolute DC input voltage between (380~415 v), Output Wave Pure Sine Wave Rated Output Voltage 380V/3ph AC Output Frequency 50-60 Hz Working Efficiency>98% Harmonic distortion is less than 3%. Warranty after installation should be for 5 years at least for the inverters. | PCS | 1 |  |  |  |
| 2 | Supply and installation of Solar Panel equivalent to Jinko 550 Watt, Power output (W) 590 W, Cell Type equivalent to mono-crystalline or polycrystalline, Operating PV temperature ranges between -10 °C & + 85 °C., Module Efficiency shall be at least 19%. The PV module frame should be made from Anodized Aluminium. The Photovoltaic modules should be manufactured recently. The warranty for module defects after installation should be at least 20 years. The awarded Proposer shall provide a manufacturer's power guarantee for all PV modules that will be installed with their serial numbers, which guarantees that the loss of the output is not more than 10% during the first 10 years and up to 20% in total after 25 years. | PCS | 20 |  |  |  |
| 3 | Submersible Pump with long Cable 7.5 , 380 V , H= 70- 90 , Q=30- 40 m³/h ,Ø = 3"equipped with all necessary junctions. | PCS | 1 |  |  |  |
| 4 | MC4 Male and Female | PCS | 4 |  |  |  |
| 5 | Electric Cable DC 10 mm | M | 70 |  |  |  |
| 6 | Protection and installation of Protection box with suction fan with Fuse 1000 V, 100 Amp, size 40 CM X 60 CM | box | 1 |  |  |  |
| 7 | Provide and installation of Change Over Switch 100 Amp, Germany or India established | box | 1 |  |  |  |
| 8 | Provide and installation of Stand for Solar Panel ,Manufacture and assembly of steel solar panel holder for 16 panel , It must be painted against rust and then painted purple. | Lum sum | 1 |  |  |  |
| 9 | Provide and installation of DC Junction Box with Circuit Breaker 100 Amp | box | 1 |  |  |  |
|  | Elevated Tank the cost including supply materials, civil works and installation |  |  |  |  |  |
|  | Supply materials and digging the foundation of the elevater water tank, the plan area; and The work shall consist of the soil embankment by filling, furnishing, placing and compacting 30 cm layer at the bottom surface of the foundation. Backfill shall be with gravel and soil with proper and compaction coarse matrial. the matrial shall be free from debris with accpetable quality. the material shall be approved by engineer. The soil should be compacted well each 5cm thickness according to standard. apply all engineering specification and standard | job | 1 |  |  |  |
| 10 | Supply materials and cast plain concrete with dimension 4m X 4m X 10 cm ,using 0.1m layer of plain concrete below the reinforced concrete layer and on top of the emankment layer. The overall ratio of the concrete cement shall be 1:3:6 with good watering (3 days at least) | m³ | 1.6 |  |  |  |
| 11 | Supply materials and cast reinforced concrete foundation with dimension 4m X4m X 40 cm. The reinforcement shall be size 14mm with 20 cm c/c. the steel shall be high tensile and in good quality. Reinforce concreate shall be base for steel tower plus the wight of water tank. The overall ratio of the concrete cement shall be 1:2:4 with good watering (3 days at least) to achieve 30 N/mm2 strength. the cost including beam and foots with flanges. | m3 | 4.8 |  |  |  |
| 12 | Supply material and manufacture elevated steel tower to be fixed on the concreate foundation base ,the steel tower shall be made from mild steel H section ,Dimensions (L 16cm*W 8 cm*T 8 mm) with branch beam from I section 16 cm *8cm* 8 mm. the total Hight of the tower to be 6 m.The tower shall be connected with bracing members (heavy duty angle) made from section L 12 cm, W 3 inch , T 8mm thickness 6 mm. The members for all side to be fixed by Nuts and Bolts . Holding down bolts, nuts and washers should be supplied in adequate sizes. The tower should be support wight of 45,000 litter and vertical and horizontal loads . The surface of stand steel shall be made from smooth material to prevent cracking of the water tank. The cost includes Nuts, Bolts and painting the steel with anti corrosive epoxy primer coat material. The cost includes fixation of a ladder to be attached on the tower, tied the tank into two direction using 2 Inch iron sheet to prevent movement of the tank and walkaway space for O/M purposes. | job |  |  |  |  |
| 13 | Supply and install mattlaic cylinder water storage tank 45,000 litter(Good quality). The tank shall be fixed on the top of the steel foundation. The tank shall be made from Non-toxic material. Resistant to abrasion and corrosion. Temperature resistant and UV light resistant. Colored tanks are allowed, but no painted tanks will be accepted. Smooth surfaces inside of tank (easy to clean).The cost includes all the necessary accessories for fitting with Human Appeal logo water tank. the cost include supply pipes 2and 3 inches and fix inlet and outlet | tower |  |  |  |  |
| 14 | Supply Galvanized pipe 3 inches and carry out distribution system installation | Ml |  |  |  |  |
|  | Water Yard protection fencing the cost include supply materials and carry out the wall construction |  |  |  |  |  |
| 15 | Provide materials (Gabain sheet 3.5mm thickness, Height 2m 5 cm fabrication , length 70 m (20m*15m) heavy Pipe iron 3 mm thickness,3 inch size columns, cement, gravel, sand, Iron bar 12mm, tie wire, painting, and carry out the installation of fencing for area 20 m long *15 m wide, cut the heavy 2.4 m and fixed with concrete ratio 1:2:4 footing size (0.40m x 0.40m x 0.40m). and weld the corners supported heavy angle 1.2 m and fixed with interval of 2.5 m and apply the Gabain with full tightened with steel wire (2mm) at each 0.50 m and diagonally between supports. supply iron bar 14 mm and welded horizontally three strips with interval of 0.7 m, ensure all engineering specification and SWC standard. | ML |  |  |  |  |
| 16 | Supply a metallic angle heavy and cut it 0.5 m and weld it at the top of the distributed supported columns, 20 angles to be like V, and supply anti-rust galvanized protection wire with a diameter of 0.5 m and carry out the installation accordingly . | ML |  |  |  |  |
|  | Control room and main gate the cost include supply materials and installation |  |  |  |  |  |
| 17 | Supply Materials (Good quality zinc plate and square pipes 8" x4" heavy duty, Cement, concrete, sand, welding rod, and screw ) and implement the installation of the control room accordingly, and Construction of Power control Room 4 Meter X 3 Meter X 3 Meter | room | 1 |  |  |  |
| 18 | Provide and installation of Main Gate height 1.80 m*length 3.50 m for water yard. Gate size (1.8m x 3.50m) consists of 2 liftslab filling is with steel sections 2x4cm vertically and horizontally each 20cm. Gate supports are from steel sections 5x10 cm fixed on plain concrete footing (0.50m x 0.50m x 0.60m). All steel sections must be painted with red-oxide paint and 2 coats of approved oil paint. | Lum sum | 1 |  |  |  |
| 19 | supply materials and install a sign board and fix it in the elevated tank and wall | signboard | 1 |  |  |  |
| 20 | Supply gravel and carry out the site levelling and apply the gravel on the top of the yards and carry out the site cleaning | site | 1 |  |  |  |
| 21 | Site cleaning and finishing | site | 1 |  |  |  |
| Total in Word SDG |  |  |  |  |  |  |
|  | Company/NGO/CBO Name: |  |  |  |  |  |
|  | Name of Director: |  |  |  |  |  |
|  | Signature and stamp |  |  |  |  |  |
|  | Date: |  |  |  |  |  |

Amount in Words (…………………………………………………………………………………………………………..)

Name of Supplier ………………………………………………………………………………………………………………..

Address:……………………………………………………………………………………………………………………….

Signature ……………………………………………………………………………………………………………………..

| Supplier: المورد Sig & Seal of bidder التوقيع والختم |  |
| --- | --- |
| For Human Appeal – UK/Sudan Name & Signature عن / منظمة هيمن ابيل البرطانية الاسم والتوقيع |  |