# Technical and Financial Criteria for Office Selection

This list is intended to provide samples of technical and financial requirements for the selection of office premises. The below crieria shall be examined and tailored on a case-by-case basis.

- Technical criteria may include, but is not limited to:

| - Subject | - Content |
| --- | --- |
| - Size | - Office area resulting from the Space Requirement Estimate. |
| - Location | - Proximity to major embassies, other UN Agencies, government institutions; - Transportation options (public and private); - Availability of pharmacy, supermarket, dining, coffee shop, etc.; - Warehouse; - Refugee reception area. |
| - Standard | - Good quality but keeping in mind the image of UNHCR as a humanitarian organization; - Layout configuration (traditional hard-wall vs open space vs a combination of both); - Parking availability for staff; - Parking availability for visitors; - Premises insured by owner; - Seismic certificate; - Building occupancy and use certificate. |
| - Access | External: access to roads leading: - Out of town; - To the airport. |
|  | Internal: - Double staircase; - Elevator; - Space for reception/waiting area. |
|  | For PoC: separate area of appropriate size and standard: - Easily accessible from office area; - Isolated from office. |
|  | For people with disabilities |
| - Security | - Stand-off distance from road; - Perimeter wall; - Space for external guard room; - Distance to next police station. |

| - Safety | - Smoke detection; - Firefighting facilities; - Distance to next civil defense unit; - Operational safety standards. |
| --- | --- |
| - Technology | - Cabling for commercial use; - Provision for internet connectivity; - DIST capacity. |
| - Facilities | - Central air-conditioning/heating system; - Availability of site utilities (power, water, gas, sewerage, any other); - Availability of centralized services (cleaning, reception, security, etc.); - Readiness for cafeteria and kitchenette; - Large conference rooms; - Shower room. |
| - Green Energy | - Energy-efficient technologies (solar generation and energy storage); - Rainwater collection and greywater reuse; - Solid waste handling; - Mitigation of greenhouse gases; - Green building certifications (LEED®, BREEAM®, EDGE®, etc.). |
| - Lease Agreement | - Lease commencement date; - Relevant clauses (early termination, no restoration, refurbishment works allowed if needed, etc.); - Completion schedule of refurbishment works. |

- Financial criteria may include, but is not limited to:

    - Maximum annual lease fee;

    - Maximum lease fee per sq. m ($/m2);

    - Maintenance cost;

    - Service fees;

    - Utility costs;

    - Refurbishment cost;

    - Relocation cost.

End of document

This template is a working document and may be update from time to time. A revised copy of this template shall be made available on intranet should revisions occur