Terms of Reference

Workstation Arrangement for Port Sudan Office

Seating arrangement for Port Sudan Office is underway to ensure people in the same departments sit together.  Hence, rearranging the current tables in the 3rd floor in style of workstation is found to be a good style of arrangement. Furthermore, small kitchen set up is required for staffs to have coffee and warm their foods.

Below is BoQ for the job order.

|  | Item | Unit | Quantity | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Work Station A-1 |  |  |  |  |
| 1.1 | Supply and fix MDF+Glass to change single desks to Workstation (Color of MDF depends on desks colors) ,(MDF: 16 mm Thickness 10 Cm Height, fixed with 5 Cm modern steel angle), (Glass: Simi Transparent Tempered glass, 20 Cm to be fixed above the MDF with Silver Aluminum frame) | LM | 5.6 |  |  |
| 2 | Work Station A-2 |  |  |  |  |
| 2.1 | Supply and fix MDF+Glass to change single desks to Workstation (Color of MDF depends on desks colors) ,(MDF: 16 mm Thickness 10 Cm Height, fixed with 5 Cm modern steel angle), (Glass: Simi Transparent Tempered glass, 20 Cm to be fixed above the MDF with Silver Aluminum frame) | LM | 5.6 |  |  |
| 3 | Work Station A-3 |  |  |  |  |
| 3.1 | Supply and fix MDF+Glass to change single desks to Workstation (Color of MDF depends on desks colors) ,(MDF: 16 mm Thickness 10 Cm Height, fixed with 5 Cm modern steel angle), (Glass: Simi Transparent Tempered glass, 20 Cm to be fixed above the MDF with Silver Aluminum frame) | LM | 5.6 |  |  |
| 4 | Work Station A-4 |  |  |  |  |
| 4.1 | Supply and fix MDF+Glass to change single desks to Workstation (Color of MDF depends on desks colors) ,(MDF: 16 mm Thickness 10 Cm Height, fixed with 5 Cm modern steel angle), (Glass: Simi Transparent Tempered glass, 20 Cm to be fixed above the MDF with Silver Aluminum frame) | LM | 5.6 |  |  |
| 5 | Kitchen set up |  |  |  |  |
|  | Kitchen Sink |  |  |  |  |
| 5.1 | Supply and fix Stainless Steel sink with 70 CM storage cabinet (Two Aluminum Cabinet, connected to the existing sewage system 3 meters from the proposed location) | Job |  |  |  |
|  | Kitchen Cabinet |  |  |  |  |
| 5.2 | Supply and fix Aluminum Kitchen Cabinet (Fiber sides, marble Surface, Dimension: one meter Height and 1.5 meters length for ground fixed and wall fixed) | Job |  |  |  |
| Total SDG |  |  |  |  |  |