## Block( D),Water Station-Lot 2
Project Name | Construction of Secondry Health Facility
Clint | Releif International - Sudan
Location | Sudan - ND - Tawila Dabanira D7
Section /Bolck | ( D) Water tanks and Tap stand | Bill No ( 4 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A
1 | Sup structure work
1.1 | Excavating trench foundation 300*300 to the platform wall as per drawing and supervisor instruction | m3 | 5
1.2 | Supply and filling well selected soil under plain concert to plat form withe well compaction , all as per specifications & RI supervisor instruction. | m3 | 6
2 | Plain concert work
2.1 | supply and casting100 mm thickness M15 plain concert using 1:3:6 (cement : sand : gravel ) ratio , the cement contain not less than225kg to the platform and steps all as per drawing s and construction supervisor instructions. | m2 | 18
2.2 | supply and casting150 mm thickness M25 plain concert using 1:2:4 (cement : sand : gravel ) ratio , the cement contain not less than325kg to the tap stand base all as per drawing s and construction supervisor instructions. | m2 | 8
Super structure work
3 | wall works
3.1 | supply and build one and half red brick wall in 1:6 (cement: sand) mortar to the platform and steps all as per drawing and supervisor instructions .the price include Equipment and tools. | m2 | 16
3.2 | supply and build one and half red brick wall in 1:6 (cement: sand) mortar to the tap stand all as per drawing and supervisor instructions .the price include Equipment and tools. | m2 | 3
3.3 | supply and build half red brick wall in 20 cm high with 1:6 (cement: sand) mortar to the tap stand bas all as per drawing and supervisor instructions .the price include Equipment and tools. | ml | 14
3.4 | supply & plastering work in 1:6 ( cement : sand) mortar to platform and tap stand walls & . the price include Equipment and tools. All as per RI supervisor instructions , | m2 | 18
Page (1) total to summary |  |  |  |  | 0
4 | Water& sanitary System
| Supply, fix, connect & test the following pipes for cold/hot water supply system to connecting water tank to tap stand properly with all accessories and fittings all as per drawings & super visor approval and instruction. |  |  |  | 0
4.1 | supply and joining .connecting 5000 liter capacity plastic water tank .the price includes all accessories & fittings all as per drawing and supervisor approval . | No. | 1
4.2 | supply and connecting 2 inch P.P.R pipes to connecting water systems from water tank to the tap stand . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 10
4.3 | supply and connecting 4 inch P.v,c drain pipe connecting to drain bit . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6
4.4 | supply and build drain bit 60*60 cm and 70 cm depthe using one red bricks with 1;6 cement sand mortar , plastering , plain concert ,60*60 cm cast iron manahol cover. The price includes excavations .All as per supervisor instructions | No. | 1
Valves & taps
4.5 | supply and connecting controle 1 inche valves. | No. | 2
4.6 | supply and connecting PVC controle taps | No. | 6
| supply and install and testing water pump inche , one horspower 50 Hz , H= Min=17, and 40Meter max,. | No. | 2
Page (2) total to summary
The Total Amount