## Sheet1
BoQ - B.2: Lab reagent and Medical Equipment
A) Medical Equipment
No | Item description | Item Specification | Units | Quantity
1 | Mercury sphygmomanometer original equiv to (Japanese made) | Mercury Sphygmomanometer : Measurement Range 0 – 300 mmHg | pcs | 9
3 | Patient examination bed screen(curtain) | Bed Screen (3 folds H 168 cm - W 244cm), easy to move | Pcs | 9
4 | Examination Bed (couch) with Matters 190 × 65 × 65 cm | imported metallic(Stainless steel) couch 190 × 65 × 65 cm | pcs | 6
5 | Drip stand (IV Pole) | Metallic imported drip holder : Stainless steel-plated steel for durability and rust resistance :(typically 120–210 cm) | pcs | 3
6 | Baby scale (Neonatal) | Neonatal weighing scale | Pcs | 3
7 | CBC Machine | (Equiv to Mindray BC-30) automated CBC hematology analyzer with 3-part differential, 21 parameters, 60 tests/hour capacity, 10 µL sample volume, touch screen interface, reagent system (3 reagents), and connectivity via USB/LAN/LIS. | Pcs | 3
8 | Stethoscope -Standard- Adult Traditional model with chestpiece, tubing, and earpieces | Equiv to Japanese brand Stethoscope | pcs | 6
9 | Microscope Olympus (CX Series) or equivalent to Good quality | Laboratory Microscope olympus or 107 ideal for clinical use, with LED illumination and plan achromat objectives | pcs | 3
10 | Dressing set | 1-ayo Scissors 14cm Straight TC, 2- Dissecting Scissors 14cm Sharp/Blunt, 3- Lister Bandage Scissors 15cm, 4- Spencer Stitch Scissors 11cm, 5- Foerster Sponge Forceps 25.5cm, 6- Dressing Forceps 16cm 2 Pcs, 7- Dressing Forceps 1:2 16cm 2 Pcs, 8- Kelly Forceps 14cm Straight, 9- Adson Forceps 12cm, 10- Lotion Bowl 04 0z, 11- Kidney Dish 8" | PCS | 3
11 | Dressing trolly standard size (L 91cm-W 45cm-H 81cm) | Hospita Trolley 3 shelves : Stainless steel -coated steel for durability and easy cleaning | PCS | 3
12 | Electronic scale | Ground electronic weighging scale :High-precision (0.01g or better) for scientific and pharmaceutical use | PCS | 6
(B) Lab Reagents &equipments
|  |  | Units | Quantity
1 | ICT malaria | Pf.PV rapid diagonestic test device Detects specific antigens of P. falciparum and P. vivax in whole blood | sac | 50
2 | Glucometer strip on call | One Call electronic blood GlucoseTesting strips | box | 100
3 | ICT H.PYLORI | A rapid test for qualitative detection of antibodies to Helicobacter pylori | sac | 50
4 | Cotton 100% pure and carded for softness | Haemocuee microcuvatte + strips | roll | 30
5 | ICT typhoid | A rapid test for qualitative detection of antibodies to typhoid fever | Sack | 50
6 | Urine strips (mission ) | Urinalysis reagent strips for rapid analysis of urine specimens | box | 40
7 | Urine container Volume: Usually 60 mL, 100 mL, or 120 mL | palstic urine sample colector | pcs | 50
8 | ESR tubes (fast ESR 30 minutes) | Fast Erythrocyte Sedimentation Rate Tubes | box | 60
9 | Mask | Medical 3-ply face masks compliant with EN 14683 Type I/II or IIR standards, bacterial filtration efficiency ≥95%, single-use disposable, with adjustable nose bridge and elastic ear loops, fluid-resistant (depending on type), suitable for medical use. | box | 50
10 | Disposable syring 3 ml | Disposable syring 3 ml | box | 50
11 | Disposable syring 5 ml | Disposable syring 5 ml | box | 50
12 | GIEMSA STAIN 1 L | Prolychromatic stain for Blood Film stating for Malaria | Liter | 2
13 | cbc diluent of sysmex | CBC reagent used as an isotonic diluting solution for blood samples to enable cell counting (RBC, WBC, PLT) in hematology analyzers. Equiv to Mindray (M-30D ) | bottle | 12
14 | CBC Lyse of sysmex | Hematology reagent used to lyse red blood cells for white blood cell differential counting and hemoglobin measurement in CBC analyzers. Equiv to Mindry(M-30CFL) | bottle | 15
15 | CBS cleanser Sysmex | CBC Cleanser – Sysmex is a cleaning reagent used in Sysmex hematology (CBC) analyzers to remove blood residues and protein deposits from tubing and measurement chambers, preventing clogging and ensuring accurate blood count results and proper instrument maintenance. | bottle | 16
16 | HB streps | Disposable hemoglobin test strips for use with analyzers like HemoCue, requiring ~10 µL blood sample, with dry reagents, providing fast results (<1 minute), factory calibrated, and easy to use. Equiv to( mission plus) | box | 20
17 | STOOL CONTANER | palstic stool sample colector | pcs | 30
18 | ESR Rack-holds 10 tubes per rack | ESR Tube holder- 9×120 mm ESR vacuum tubes | pcs | 3
19 | CBC paper | CBC report paper for hematology analyzer (Equivalent to Mindry BC30) | box | 60
20 | EDTA container | EDTA tube for sample collection and reservation.Tube Size: 13×75 mm or 16×100 mm | box of 100 pcs | 80
21 | ICT for HCV | A rapid test for qualitative detection of antibody to Hepatitis C virus in serum or blood | box of 40 pcs | 5
22 | Immersion oil | Microscope resolution and clrearity oil 20 ml Vail | bottle | 10
23 | ICT for HBV | A rapid test for qualitative detection Hepatitis B surface antigen in serum or plasma | box of 40 pcs | 5
24 | ICT for HIV | A rapid test for the qualitative detection of antibodies to HIV type1,type2,and subtype O in whole blood | box of 40 pcs | 5
25 | Compined RTD for Dengue | A rapid test for the qualitative detection of antibodies (IgGand IgM) and NS1 antigen to dengue virus | Box of 25 | 80
26 | ICT for HCG | A rapid test for qualitative detection of human chorionic gonadotropin(hCG) | box of 25 pcs | 10