Clarifications to Queries

Project Name: Enhancing Community Resilience Project (THABAT) – AF1

Contract Title: Rehabilitation of Water Yards and Hand Pumps in Basundah Locality

RFB Reference: SD-MC-554199-CW-RFB

Date of Issuance: July 23, 2026

In accordance with ITB Clause 7.1, the Employer is issuing the following formal responses to queries raised by bidders:

Question 1: BOQ 2: Rehabilitation of Babikrey Water Yard - Duplicate Items in the Bill of Quantities (BoQ)

- Item No. 8 is for the fabrication & installation of a 50 m³ elevated steel water tank, and Item No. 15 is identical. Is Item No. 15 a repetition, or are there really two (2) tanks required for the Babikrey site?

- Similarly, Item No. 10 is for 200 m³ of improved soil, and Item No. 16 is identical. Is Item No. 16 repeated, or is the total quantity required actually 400 m³?

Answer:

- Item No. 15 is a clerical repetition of Item No. 8. There is only one (1) 50 m³ elevated steel water tank required for the Babikrey site. Bidders are instructed to price and execute Item No. 8 only. Item No. 15 must be left unpriced / ignored, as it will be formally deleted via Amendment No. 1.

- Item No. 16 is a clerical repetition of Item No. 10. The total required quantity is 200 m³ (not 400 m³).  Bidders are instructed to price and execute Item No. 10 only. Item No. 16 must be left unpriced / ignored, as it will be formally deleted via Amendment No. 1.

Question 3: Geographical Data & Village Distances

Regarding the geographical data for Basundah locality villages, bidders require details to determine transportation distances and logistical planning between sites.

Answer: To assist bidders in calculating transport routes, site-to-site distances, road conditions, and seasonal stream crossings across Basundah locality, the GPS coordinates for the project sites are provided as follows:

- Karima:  12.6930210∘ N,35.6934066∘ E

- Jazeera Aldoud: 12.6748188∘ N,35.7597706∘ E

- Haifa: 12.9554542∘ N,35.8761022∘ E

- Alseifa:  12.9360779∘ N,35.9835734∘ E

Amendment No. 1 to the Bidding Document

RFB Reference: SD-MC-554199-CW-RFB

Date of Issuance: July 23, 2026

Pursuant to ITB Clause 8 (Amendment of Bidding Document), the bidding document is amended as follows:

- Item 1: Deletion of Duplicate BoQ Items, Section VII – Works’ Requirements, Item No. 9: Bill of Quantities:

Item No. 15 and Item No. 16 are hereby deleted in their entirety from the Bill of Quantities due to clerical duplication.

Note to Bidders: Bidders must acknowledge receipt of this Clarification & Amendment No. 1 in their Letter of Bid. All other terms and conditions of the Bidding Document remain unchanged.