	Name of Tender:
Provision of SC infrastructure rehabilitation/improvement works, including waste management in West Darfur.
Tender Number 
SD-CRS-538608-CW-RFQ
 Publish date 9th of August 2026  
Deadline Submission date:
 23rd of August 2026 – 04 :00 PM
Please submit your bid to CRS Geneina or through E/mail 
tenders.sudan@crs.org  

  
	اسم العطاء:
تنفيذ أعمال إعادة تأهيل وتحسين البنية التحتية لسلسلة الإمداد، بما في ذلك إدارة النفايات في ولاية غرب دارفور

رقم العطاء
  SD-CRS-538608-CW-RFQ
تاريخ فتح التقديم:  9 اغسطس 2026 
 
تاريخ انتهاء التقديم 

 23 اغسطس 2026 04:00   العصر 
 
 
 الرجاء ارسال عرضكم الي مكتب الاغاثة الكاثلوكية او من خلال البريد الالكتروني 
tenders.sudan@crs.org 




 
 
	Dear Sir / Madam, 
CRS Sudan is looking for companies for Provision of minor rehabilitation works of 5 HFs in West Darfur
 
General Requirements 
1.  Must Be Registered to conduct the business and in compliance with federal governments tax regulations in Sudan.
2.     Past Eexperience with International Organizations, Non-Governmental Organizations, or large private companies will be an added advantage.  
4.   CRS retains the right to reject, cancel, negotiate, amend, split and accept any offer, without consideration of the lowest offer. 
5.     This is an invitation to vendors, and it is not a promise or obligation that CRS will contract with suppliers through the submitted offers.
6.   Relevant bid committee may request for physical samples of some items during evaluation process of bids. 
7. The work plan must be provided by the contractor with the tender package.
9.The banking information should be specific and clear.


	 سيدي / سيدتي العزيز(ة)
هيئة الإغاثة الكاثوليكية  برامج السودان تبحث عن شركات من المهتمين تنفيذ أعمال إعادة تأهيل طفيفة ل 5 مرافق صحية في ولاية غرب دارفور
متطلبات عامة:
1 . يجب أن يكون مسجلا لإجراء الأعمال التجارية مع ما يتوافق  ولوائح الضرائب الحكومية في السودان .
3 . الخبرة في تزويد المنظمات الدولية، المنظمات الغير حكومية، أو  الشركات الكبيرة الخاصة ستكون ميزة.
4 . تحتفظ هيئة الاغاثة الكاثوليكية بالحق في رفض، إلغاء، التفاوض، تعديل، تجزئة وقبول أي عرض، دون النظر الى أدنى عرض. .
5. هذه دعوة للموردين وليس وعد أو التزام من هيئة الإغاثة الكاثوليكية للتعاقد مع الموردين من خلال العروض المقدمة
6. قد تقوم لجنة الإحالة المعنية بطلب نماذج عينية لبعض المواد اثناء عملية تقييم العروض.
7.  يجب على المقاول تحضير الجدول الزمني لتنفيذ الاعمال على ان يتم تسليم المستند مع اوراق العطاء
9. يجب ان تكون معلومات وتفاصيل رقم الحساب واضحة.



 
	Payment Terms
1. Quotation should remain valid for a period of at least ninety sixty (60) days from the submission closing date. 
2. Payment shall be made in SDG via bank cheque or wire transfer within 15 working days from the date of receiving the correct invoice.
3. Payment shall be made upon verification and acceptance of services/goods according to contract    Purchase order. 

	     شروط الدفع :- 
يجب أن تظل العرض ساريًا لمدة تصل إلى ستين (60) يومًا من تاريخ إغلاق التقديم.1
2. يتم إجراء الدفع بالحنيه السوداني عبر شيك بنكي أو تحويل بنكي خلال خمسة عشر (15) يوم عمل من تاريخ استلام الفاتورة الصحيحة.
3. يتم إجراء الدفع بعد التحقق وقبول الخدمات وفقًا لشروط العقد أو أمر الشراء





	Acceptance of Payment Terms
Do you accept the above payment terms?
· Yes
· No
 
	الموافقة على شروط الدفع:
هل توافق على شروط الدفع اعلاه:
· اوافق 
· لا اوافق 

	Requested Information
The submission must include:
· Full legal address and contact details of the company.
· Name of company’s official owner and copy of his/her ID & passport (if available)
· Copy of company registration certificate 
· Copy of Tax Registration Certificate.
· Reference from previous similar business experience with reference contact information. 
· Bank account information if available.
· The vendor must read, sign & stamp the Attachment (2) related to CRS SUPPLIER CODE OF CONDUCT
	يجب تقديم ما يلي:    
 يجب ان يتضمن التقديم ما يلي :                  
· العنوان الكامل الصحيح وعنوان الاتصال للشركة
· اسم صاحب الشركة الرسمي مع  نسخة من البطاقة القومية او جواز السفر.
· صورة عن شهادة تسجيل الشركة
· صورة عن شهادة التسجيل الضريبي 
· المرجع من الخبرة في الاعمال السابقة المماثلة و معلومات الاتصال للمرجع
· تفاصيل معلومات الحساب المصرفي اذا امكن.
· يجب على المقاول قراءة و توقيع و ختم الملحق(2) و الخاص بالقواعد السلوكية التي تنتهجها هيئة الإغاثة الكاثوليكية.


 
 
	Bid Requirements: - 
Offers that do not meet the following will be automatically rejected regardless of price:
1. Offers must be received before the stated deadline. 
2. Offers must include all the information requested above. 
3.  Unit prices must be provided for all line items. Offers that only include totals will be rejected.
4. Bids that include mistakes in calculations within the Bill of Quantities will be excluded from competition. 
5. Bids must be submitted through CRS Zalingei or EL Geneina office to receive bids. 
6. Offers must be clean & clear. The vendor should sign and stamp next toagainst any handwritten corrections/amendment to the bid. if available or corrections made with whiteout.  
7. Offers must be complete from all sides, signed, dated, and stamped on all pages. 
8. The technical adviser of CRS will carry out quality control of the items and reserve the right to reject items did that do not match the above-mentioned specification.
9. The duration of delivery for all requested items must be clearly specifiedy 
	     
      معلومات ملء العطاء :- 
      سوف يتم رفض أي عطاء لا يلتزم بالشروط أدناه بغض النظر عن السعر:
1. سيتم رفض أي طلب يقدم بعد التاريخ والوقت المحدد لقبول العطاءات.
2. يجب أن تتضمن العروض جميع المعلومات المطلوبة أعلاه.
3. جميع الاسعار يجب ان تكتب لكل بند أو فقرة على حدة، ويتم رفض العطاءات التي تحتوي على الإجمالي فقط. 
4. سيتم استبعاد العطاء الذي يتضمن خطأ في حسابات جداول الكميات
5.  يجب تقديم العروض في مكتب المنظمة زالنجي  او الجنينة
6. العروض يجب أن تكون نظيفة وواضحة، يجب التوقيع والختم ان وجد في مكان أي تصحيح يدوي أو باستخدام قلم التصحيح الابيض.
7. يجب أن تكون العروض كاملة من جميع الجوانب، موقعة بتاريخ واضح ومختومة على جميع الصفحات.
8. سيقوم الجهة الفنية من قبل المنظمة لمطابقة المواصفات ويتم رفض أي دواء غير متطابق للمواصفات أعلاه.
9. يجب تحديد بشكل واضح  فترة تسليم كل الكميات المطلوبة 



 
	Delivery Instructions: 
1. The company biography should not exceed 10 pages.
  
Complete and stamped and signed offer must be delivered in sealed envelope with tender number on it 
SD-CRS-538608-CW-RFQ
Delivery to CRS Geneina or through E/mail 
tenders.sudan@crs.org 
	تعليمات التسليم: 
يجب ان لا تتجاوز السيرة الذاتية للشركة اكثر من 10 صفحات.
 
يجب تقديم العطاء الكامل والمختوم و الموقع  مع كافة الوثائق المطلوبة في  ظرف مغلق يكتب عليه رقم العطا 
  SD-CRS-538608-CW-RFQ
ويسلم الى مقر مكتب الاغاثة الكاثلوكية الجنينة او من خلال البريد الالكتروني 
tenders.sudan@crs.org 
 



Experience Reference List
قائمة مراجع الاعمال السابقة
 
	 
	Name of Organization
أسم
المنظمة
	Name of Person
أسم الشخص
	Name of Project أسم المشروع
	Project Start Date تاريخ المباشرة بالمشروع
	Project duration مدة تنفيذ المشروع
	Phone Number رقم الموبايل
	Email Address البريد الالكتروني

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 




	Company name:
أسم الشركة :
	 
 

	Legal address:
العنوان الثابت:
	 
 

	Telephone Number:
رقم الهاتف:
	 
 

	Email:
عنوان البريد الإلكتروني:
	 
 

	Representative Name
اسم الممثل:
	 
 

	Business Certificate Registration Number:
رقم تسجيل شهادة العمل:
	 

	Tax registration Number:
رقم التسجيل الضريبي:
	 

	Contract duration:
مدة العقد :
	 

	   Bank details: -

· Bank Name: ……………………………………

· Bank account name: …………………………

· Bank number ………………………………

· Branch: ………………………………………



  
	تفاصيل الحساب:- 

   إسم الينك : ----------------------------------------
 
اسم الحساب :----------------------------------------


رقم الحساب :  -------------------------------------  -  


الفرع -----------------------------------------------


	Do you have partnerships with any other companies (such as shared management / staff / office / bank account)?  Do you cooperate with any other companies in preparing offers or providing goods or services?
هل لديك شراكات مع أي من الشركات الأخرى ( مثل إدارة / الموظفين / المكتب حساب مشترك / البنك) ؟ هل تتعاون مع أي من الشركات الأخرى في إعداد العروض أو توفير السلع أو الخدمات؟
	 

	If the answer to the previous above question is yes, please provide details here including the names of partner companies.
إذا كان الجواب عن السؤال السابق نعم ، يرجى تقديم التفاصيل هنا بما في ذلك أسماء الشركات الشريكة 
	 

	Other comments:
ملاحظات اخرى: 
	 

	Experience / references for the related work of experience (Please attached any related contract, purchase order, certificate, etc.) that does not exceed 10 pages. References MUST include contact information.  
يجب ان يحتوي على عناوين الاتصال من مراجع الخبرة 
المرجع من الخبرة ( الرجاء ارفاق دليل من الاعمال السابقة ذات الصلة من عقود , اوراق شراء , ورقة اتمام عمل , اخرى )  لا تتجاوز عشرة اوراق.
	 
 
 
 
 



	Signature
التوقيع
	 

	Date
التاريخ
	 



ATTACHED (1)
Lot#1 EL Thawra HF
Bill Of Quantities for Rehabilitation fence and two rooms with Waiting Area

	EL thawra Health facility  -West  Dar fur

	Bill Of Quantities For Rehabilitate four  Rooms , attched waiting area and yard

	N O
	Description
	Unit
	Quantity
	Price SDG
	Amount SDG

	1
	Provide materials and labor to prepare all HF ground surfaces with proper compaction, graded from north to south to ensure smooth rainwater drainage.
	M²
	157
	
	

	2
	Provide materials and labor to backfill the area between the rooms, latrine on the west side, and entrance with selected material compacted well to a uniform depth of 10 cm
	M²
	73
	
	

	3
	Provide materials and labor to cast plain concrete at a depth of 10 cm, mixed in the ratio 1:3:6, in the area between the rooms, the latrine on the west side, and the entrance.
	M²
	73
	
	

	4
	Provide water proof  material ( sand ,cement ,SASA and flancoat ) and Apply plaster with a gradient starting at 7 cm height and tapering down to 0.5 cm.  After plastering, cure the surface for 7 days to ensure proper setting and bonding. Apply three layers of Flancoat waterproof   coating  after curing , Use a sand/cement mix ratio of 1:3 for the base layer before applying Flancoat.
	M²
	75
	
	

	5
	Provide materials and labor to remove damaged tiles and reinstate ceramic tiles in rooms and the attached waiting area
	M²
	15
	
	

	6
	provide  material and apply painting and repair hairing  for  wall of four  rooms and waiting area , internally should be smooth use  plastic emulsion (Bomastic) in 2 coats , for external wall use 2 coat of Bombastic
	M²
	317
	
	

	7
	provide  material and apply painting  for roof  of four  rooms and waiting area , use  plastic emulsion (Bomastic) in 2 coats ,
	M²
	75
	
	

	8
	Provide materials and apply paint on the steel door, including minor repair
	No.
	6
	
	

	9
	Provide materials and apply paint on the steel window, including minor repair
	No.
	10
	
	

	
	Total sub budget 1
	
	
	
	

	
	Fencing

	1
	Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm
	ML
	15
	
	

	2
	provide and construct   brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 30 cm above Zero level,use cement/sand mix 1:8
	ML
	15
	
	

	3
	provide and construct and build  brick wall  by using thickness one and half brick and height 1.6 m  (first class burn brick size 11cm x6cm x22 cm) ,use mud morter
	M2
	24
	
	

	4
	"Provide material and fabricate a gate for the fence with a total width of 2  meters, consisting of two leaves. The gate shall be constructed from iron box sections as per the engineer's instructions, and fixed between brick columns and a rammed base. The entire structure shall be finished with plastering and painting
	Pcs
	1
	
	

	
	Total sub 
	
	
	
	

	
	New waiting area for OTP beneficiary

	1
	Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm
	ML
	25.5
	
	

	2
	Excavate strip foundation with width 50 cm and depth 50 cm and back fill with stone up to level 30 cm for attached  waiting Area shelter
	ML
	27.5
	
	

	3
	provide and construct   brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 20 cm above Zero level,use cement/sand mix 1:8
	ML
	25.5
	
	

	4
	provide and construct   brick wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) with hight 40 cm above Zero level,use cement/sand mix 1:8 for attached  waiting Area shelter
	ML
	27.5
	
	

	5
	provide andconstruct and cast reinforced concrete (1:2:4) mix for grade beam with section 30 cmx 30 cm  use steel bar 12 mm 5T12@150mmc/c  As shown in drawing
	ML
	25.5
	
	

	6
	provide and construct and cast reinforced concrete (1:2:4) mix for lentil beam with section 35 cmx 15 cm  use steel bar 12 mm 5T12@150mmc/c  As shown in drawing
	ML
	25.5
	
	

	7
	provide and construct and build  brick wall including Barbate   by using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,use mud morter
	M2
	102
	
	

	8
	Provide and costruct brick wall 25 cm thicknessand 1.4 m height  with suports each 2 m using cement /sand morter Mix   ( 1: 6 ) for waiting Area shelter
	M2
	41
	
	

	9
	provide and back filling using selected soil with well compacted in 3 layers for both room and attached waiting Area shelter
	M3
	31.5
	
	

	10
	Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter
	Square meter( M²)
	72
	
	

	11
	provide and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm  thickness              as shown in drawing for both room and attached waiting Area shelter
	M2
	80
	
	

	12
	provide and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets )
	M2
	27.5
	
	

	13
	provide and fix Cylindrical iron pipe 3 inch in diameter , 3.5 m length and 1mm thickness for shelter witt painting
	Pcs
	10
	
	

	14
	Provide and plastering wall using cement/sand mortar mix 1:8 or both room and attached waiting Area shelter
	M2
	286
	
	

	15
	Provide and painting wall 2coat for Externall and internal wall using Bomastic paint or both room and attached waiting Area shelter
	M2
	286
	
	

	16
	Provide and fix  mesh (sixbenda) wit section 2 m length and 50 cm height on shelter side
	Pcs
	12
	
	

	17
	Provide and fix Doors with section 2 m X  1 m for shelter
	Pcs
	1
	
	

	18
	provide and fix steel door  size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw
	Pcs
	2
	
	

	19
	provide and fix steel window with fine mesh and sixbanda  size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw
	Pcs
	3
	
	

	20
	provide and fix sky light with fine mesh and sixbanda  size 40 cm x 40 cm
	Pcs
	2
	
	

	
	Total sub 
	
	
	
	

	
	Construction of Incinerator by dimension 190 × 150 × 180 m
	
	
	
	

	1
	Excavate a strip foundation 30×20   cm
	ML
	7
	
	

	2
	Supply and build walls with 1 Red bricks from cement mortar 1:6 for the foundation to the height of 40 cm for the incinerator.
	ML
	7
	
	

	3
	Supply and backfilling underground with selected material approved by the engineer.
	M3
	1
	
	

	4
	Supply and cast 10cm thick plain concrete 1:3:6 mix with approved ordinary port land cement and approved coarse and sand for all flooring
	M2
	3
	
	

	5
	Supply and build external walls with o.5 Red bricks and cement mortar mix 1:6 up to 1.8 m above ground level to the roof
	M2
	10
	
	

	6
	Supply and build of internal walls 15 cm away from the external walls with o.5 Red bricks and cement mortar mix 1:6 up to 1.8 with the division of the inner room into two rooms north and south
	M2
	10
	
	

	7
	Supply and make net from steel bars 12mm with 5 cm spacing for the northern room in 90 cm height
	M2
	0.5
	
	

	8
	Supply and make covers of 5 mm steel sheet 40×40 cm =2, 0.8150.615× cm =1 including installation of 3-inch, 1.5-inch round pipe for ventilation.
	job
	job
	
	

	9
	Supply and fill the space between external wall and internal wall by sand then cover the surface with concrete
	job
	job
	
	

	10
	Supply, Installing and casting based for the fence (10×10 m) from the round pipes (1mm) and plain Concrete mix 1:3:6 including cutting and welding of the round pipes, space between any based 2 m, height of pipe 2.5 m and deep 0.5 m including the building by using 1.5 bricks, cement mortar to high 30 cm including plastering and painting.
	job
	job
	
	

	11
	Supply and Installing Mesh-Wire 4 mm and 3 row using steel bar 10 for the fence including the door
	job
	job
	
	

	12
	Excavate of incinerator Ash pit by dimension 1.5*2*3 m including the build of the Ash pit, placenta pit and sharp pit including ventilation pipes,  using cement mortar mix 1:6 and cover the Ash pit from reinforced  concrete mix 1:2:4 ,steel bar 12 mm and spacing 15 cm including manhole by dimension 50*50 cm using steel sheet 3 mm for cover of manhole
	Pcs
	3
	
	

	
	Total sub
	
	
	
	

	
	Total Cost
	
	
	
	


Lot#2 EL Dar El Naem HF

	West  Dar fur      -     Dar El Naem   health facility 

	A
	BoQ for Constructing OTP/TSFP Center  and waiting area at  HF

	
	
	

	N.o
	Items Description
	Unit
	Quantity
	Unit cost
	Total Cost SDG
	

	1
	Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter
	Square meter( M²)
	49
	 
	 
	

	2
	provide material and install ceramic taile 
	Square meter( M²)
	49
	 
	 
	

	3
	provide material and install skirt ( skirt )
	Meter Length(ML)
	40
	 
	 
	

	4
	provide material  and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets )
	Meter Length(ML)
	5
	 
	 
	

	5
	Provide material and plastering wall using cement/sand mortar mix 1:8  for windows and door and narrow edges 
	Meter Length(ML)
	20
	 
	 
	

	6
	Provide and painting wall 2coat for Externall and internal wall using Bomastic paint or both room and attached waiting Area shelter
	Square meter( M²)
	153
	 
	 
	

	7
	Provide and fix  mesh (sixbenda) wit section 2 m length and 1 m height on shelter side 
	Pcs
	4
	 
	 
	

	8
	Provide and fix Doors with section 2 m X  1 m for shelter
	Pcs
	1
	 
	 
	

	9
	 provide material and do  minor repairefor and painting  for steel door  size 1 mx2.2 
	Pcs
	1
	 
	 
	

	10
	 provide and  do  minor repairefor and painting for  steel window with fine mesh and sixbanda  size 1 m x 1.2 m
	Pcs
	3
	 
	 
	

	 
	Sub Total
	 
	 
	 
	 
	

	 
	Total 
	 
	 
	 
	 
	











Lot#3 Morney SC

	West  Dar fur      -     Morney   Hospital  

	BoQ for renovation of Stabilization center ( SC ) in Morney Hospital 

	N O
	Description of Items
	Unit 
	Quantity
	unit price SDG
	Amount SDG

	1
	Rehabilitation of Major Cracks in Brick Walls 
	 
	 
	 
	 

	1.1
	Provide all necessary materials, labor, tools, and equipment to carry out the rehabilitation of major cracks in brick walls across the Delivery Room.
Scope of work shall include:
Cleaning and preparation of cracked areas.
Stitching, filling, and sealing of cracks using appropriate mortar or repair compounds.
Repointing and finishing to match existing wall surfaces.
Ensuring structural integrity and aesthetic consistency after repair.
	Job
	1
	 
	 

	1.2
	Provide materials and carry out repair and maintenance of a protection walk along the wall, 100 cm wide, by recasting plain concrete at 10 cm depth with a gradient sloping from 10 cm to 8 cm across the width to ensure smooth rainwater drainage.
	ML
	58
	 
	 

	2
	floor
	 
	 
	 
	 

	2.1
	Removal and Replacement of Damaged Floor tile 
	 
	 
	 
	 

	2.2
	Provide materials and lay ceramic tiles at the stabilization award area, rest room, kitchen, and drug store.
	M²
	30
	 
	 

	2.3
	provide materials  and install skirt (Wazar)at the stabilization award area, rest room, kitchen, and drug store.
	ML
	20
	 
	 

	3
	Roof
	 
	 
	 
	 

	3.1
	Provide all necessary materials, labor, tools, and equipment to carry out roof repair and maintenance works for, Drug Store, 
Scope of work shall include:
Cleaning and preparation of roof surfaces.
Use of suitable methods and materials to maintain and repair damaged zinc sheets.
Ensuring proper waterproofing to prevent water leakage.
All works to be executed as identified and approved by the Engineer.
	job 
	1
	 
	 

	3.2
	 Provide all necessary materials, labor, tools, and equipment to carry out and install false ceiling works using gypsum board.
Scope of work shall include:
Supply and installation of gypsum board false ceiling panels.
Proper fixing to the existing structural wall and alignment to ensure level finish.
Joint treatment, sealing, and finishing to achieve smooth surfaces.
	M²
	175
	 
	 

	4
	 painting 
	 
	 
	 
	 

	4.1
	Provide all necessary materials, labor, tools, and equipment to carry out painting works on internal walls external wall 
Scope of work shall include:
Cleaning and preparation of wall surfaces.Application of three coats of emulsion paint (Bomastic).
Final color selection to be identified and approved by the Engineer
	M²
	530
	 
	 

	5
	Doors and windows 
	 
	 
	 
	 

	5.1
	Provide materials and carry out minor repair and painting of a steel door, size 1.0 m × 2.2 m.
	No.
	7
	 
	 

	5.2
	Provide materials and carry out minor repair and painting of a steel window, size 1.2  m × 1  m.
	No.
	17
	 
	 

	5.3
	Provide materials and carry out painting for iron pipe column  and side mesh  
	Job
	1
	 
	 

	5,4
	Provide materials and carry out painting of American zinc sheet cladding, 1 m height, for the nutrition shelter of size 12 m x 6 m
	ML
	72
	 
	 

	6
	Total
	 
	 
	 
	 






ATTACHED (2)
Scope of Work (SoW) for Rehabilitation of Health Center Facilities in El Geneina, Serba, and Kereinek Localities, West Darfur
Catholic Relief Services (CRS) intends to rehabilitate selected health center facilities located in El Geneina, Serba, and Kereinek Localities, West Darfur State, Sudan. The rehabilitation works aim to restore and improve the functionality, safety, and quality of healthcare infrastructure to ensure the delivery of essential health services in accordance with Ministry of Health standards and humanitarian best practices. CRS infrastructure projects typically prioritize safety, functional facilities with reliable water, sanitation, and quality construction.
The contractor shall provide all labor, materials, equipment, tools, transportation, supervision, and technical services necessary to complete the rehabilitation works.
The contractor’s responsibilities:
The specific tasks of the contractor under this scope of work should be implemented under direct supervision and instruction of CRS field staff, and each completed stage of the work should be accepted and approved by CRS field staff, and the contractor should implement and complete any required repair or amendment before starting the next stage, also contractor should be responsible to the following:
1- Materials
· All materials shall be new, unused, and approved quality by Project Engineer
· The materials shall be complied with the technical specifications and applicable Sudanese or internationally recognized standards
· Samples shall be submitted for approval by Project Engineer before procurement where required.


2- Quality Control
The contractor shall:
· Implement a quality control system throughout the rehabilitation period.
· Conduct all required inspections and testing (if need).
· Correct defective work at no additional cost
· Maintain records of inspections and test results.
3- Health, Safety, and Environmental (HSE) Requirements
The contractor shall
· Comply with national occupational health and safety regulations and CRS safety requirements.
· Provide appropriate personal protective equipment (PPE) to all workers
· Maintain first did facilities on site.
· Prevent environmental pollution.
· Control dust, noise, and rehabilitation waste.
· Protect patients, health workers, and visitors during rehabilitation activities.
4- Environmental and Social Safeguards
The contractor shall:
· Minimize disruption to health services.
· Ensure safe access for patients and staff.
· Prevent child labor and forced labor.
· Prevent gender-based violence, sexual exploitation, abuse, and harassment (GBV/SEAH).
· Respect local communities and cultural practices.
· Adhere to CRS safeguarding and code of conduct requirement.
5- Schedule
· Commence works immediately upon receipt of the notice proceed.
· Complete all work within the period specified in the contract.
· Submit a detailed work program showing activity sequencing, milestones and completion dates.
       6- Inspection and Supervision
        The works shall be supervised by CRS and/or designated Engineer. The contractor shall:
· Provide unrestricted access to the site.
· Cooperate during inspections.
· Rectify defects identified during inspections within the specified timeframe.
        7- Testing and Commissioning
           The contractor shall perform all required testing and commissioning of electrical,     
       plumbing, and other building systems before handing over.
         8- Handover
             Upon completion, the contractor shall:
· Thoroughly clean the site 
· Remove temporary work and unused materials
· Submit as-built drawings where applicable.
· Provide warranties and operation manual for installed equipment.
· Remedy all defects identified during the Defect Liability period.
         9- Deliverables 
             The contractor shall submit:
· Work program and implementation schedule.
· Materials submittals and approvals.
· Quality assurance documentation.
· Weekly or biweekly progress reports.
· Inspection and testing records.
· Completion report.
· As-built drawings (where applicable).
· Defect liability commitments.




         10- Applicable Documents
             The work shall be executed in accordance with:
· Approval architectural, structural, electrical, and plumbing drawings.
· Technical Specifications.
· Bill of Quantities (BoQ).
· Contract Conditions.
· CRS construction standards and safeguarding requirements.
· Applicable Sudanese Building codes and Ministry of Health requirements.


        
	
Bidder’s (Company) Name: ________________

Authorized Person Full Name: _____________
Title (Position):	_________________________

Signature and Company Official Stamp:	_____

Date: ____________________

	
اسم مقدم العرض (الشركة)___________________

الاسم الكامل للشخص المفوض: _________________ 

اللقب (المنصب): ___________________________

التوقيع وختم الشركة الرسمي: _______________

التاريخ:___________________________





