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Name of Project: Enhancing Community Resilience Project (THABAT) – AF1
Contract Title: Supply, Installation, Testing, Commissioning, and Handover of Post-Harvest Agribusiness Processing Equipment for Six (6) Consumer Cooperative Hubs
Loan No./Credit No./ Grant No.: TF-C7102
RFB Reference No.: SD-MC-554246-GO-RFB
Clarification to Query
Dear Sirs,
Please find below Mercy Corps’ responses to the clarification queries raised in relation to the issued Bidding Document for the subject tender, for your consideration in preparing your Bids.
Clarification Question and Mercy Corps Response
	 Q#
	Clarification Question
	Mercy Corps Response

	Q1
	Lighting/Fan Solar System – Item No. 6 of Amendment No. 3

The item no.6 in Amendment no.3 suggests a "A separately wired lighting/fan system with four (4) 645 W panels and one 3 kVA inverter.", yet fails to elaborate on accessories, batteries, panel support structure, and cables for the lighting/fan system.

Please elaborate on this.
	For the additional solar unit, we expect the vendor to supply all required accessories listed above for the main solar unit (where applicable) and necessary for installation. No battery is required, as the hub will operate during daytime only.


 
~~~End of Clarification to Query ~~~
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