Name of Project: Enhancing Community Resilience Project (THABAT) – AF1

Contract Title: Supply, Installation, Testing, Commissioning, and Handover of Post-Harvest Agribusiness Processing Equipment for Six (6) Consumer Cooperative Hubs

Loan No./Credit No./ Grant No.: TF-C7102

RFB Reference No.: SD-MC-554246-GO-RFB

Clarification to Query

Dear Sirs,

Please find below Mercy Corps’ responses to the clarification queries raised in relation to the issued Bidding Document for the subject tender, for your consideration in preparing your Bids.

Clarification Question and Mercy Corps Response

| Q# | Clarification Question | Mercy Corps Response |
| --- | --- | --- |
| Q1 | Lighting/Fan Solar System – Item No. 6 of Amendment No. 3 The item no.6 in Amendment no.3 suggests a "A separately wired lighting/fan system with four (4) 645 W panels and one 3 kVA inverter.", yet fails to elaborate on accessories, batteries, panel support structure, and cables for the lighting/fan system. Please elaborate on this. | For the additional solar unit, we expect the vendor to supply all required accessories listed above for the main solar unit (where applicable) and necessary for installation. No battery is required, as the hub will operate during daytime only. |

~~~End of Clarification to Query ~~~