| Name of Tender: Provision of minor rehabilitation works of 4HFs in 4 HFs in Central Darfur. Tender Number SD-CRS-538749-CW-RFQ Publish date: 27th of September 2026 Deadline Submission date: 08th of October 22026 – 04 :00 PM Please submit your bid to CRS Zalingei or through E/mail through email: tenders.sudan@crs.org | اسم العطاء: تقديم أعمال إعادة تأهيل بسيطة لأربعة مرافق صحية في أربع مرافق صحية في وسط دارفور. رقم العطاء SD-CRS-538749-CW-RFQ تاريخ فتح التقديم 72 سبتمبر2026 تاريخ انتهاء التقديم 8 اكتوبر 2026 04:00 العصر الرجاء ارسال عرضكم الي مكتب الاغاثة الكاثلوكية زالنجي من خلال البريد الالكتروني tenders.sudan@crs.org |
| --- | --- |

| Dear Sir / Madam, CRS Sudan is looking for companies to provide the items/services shown in Attachment 1 at a competitive price and with high quality. General Requirements 1. Must Be Registered to conduct the business and in compliance with federal governments tax regulations in Sudan 2. Experience International Organizations, Non-Governmental Organizations, or large private companies will be an advantage. 4. CRS retains the right to reject, cancel, negotiate, amend, split and accept any offer, without consideration of the lowest offer. 5. This is an invitation to vendors, and it is not a promise or obligation that CRS will contract with suppliers through the submitted offers. 6. Relevant bid committee may request for physical samples of some items during evaluation process of bids. 7. The work plan must be provided by the contractor with the tender package. 9.The banking information should be specific and clear. | سيدي / سيدتي العزيز(ة) هيئة الإغاثة الكاثوليكية برامج السودان تبحث عن شركات من المهتمين بتوفير المواد/ الخدمات المشار إليها أدناه في الملحق رقم 1 بأسعار منافسة وبجودة عالية. متطلبات عامة: 1 . يجب أن يكون مسجلا لإجراء الأعمال التجارية مع ما يتوافق ولوائح الضرائب الحكومية في السودان . 3 . الخبرة في تزويد المنظمات الدولية، المنظمات الغير حكومية، أو الشركات الكبيرة الخاصة ستكون ميزة. 4 . تحتفظ هيئة الاغاثة الكاثوليكية بالحق في رفض، إلغاء، التفاوض، تعديل، تجزئة وقبول أي عرض، دون النظر الى أدنى عرض. . 5. هذه دعوة للموردين وليس وعد أو التزام من هيئة الإغاثة الكاثوليكية للتعاقد مع الموردين من خلال العروض المقدمة 6. قد تقوم لجنة الإحالة المعنية بطلب نماذج عينية لبعض المواد اثناء عملية تقييم العروض. 7. يجب على المقاول تحضير الجدول الزمني لتنفيذ الاعمال على ان يتم تسليم المستند مع اوراق العطاء 9. يجب ان تكون معلومات وتفاصيل رقم الحساب واضحة. |
| --- | --- |

| Payment Terms - Quotation should remain valid for a period of at least ninety (60) days from the submission closing date. - Payment shall be made via bank cheque or wire transfer within 15 working days from the date of receiving the correct invoice. - Payment shall be made upon verification and acceptance of services according to contract Purchase order. | شروط الدفع :- يجب أن تظل العرض ساريًا لمدة تصل إلى تسعين (60) يومًا من تاريخ إغلاق التقديم.1 2. يتم إجراء الدفع عبر شيك بنكي أو تحويل بنكي خلال خمسة عشر (15) يوم عمل من تاريخ استلام الفاتورة الصحيحة. 3. يتم إجراء الدفع بعد التحقق وقبول الخدمات وفقًا لشروط العقد أو أمر الشراء |
| --- | --- |

| Acceptance of Payment Terms Do you accept the above payment terms? - Yes - No | الموافقة على شروط الدفع: هل توافق على شروط الدفع اعلاه: - اوافق - لا اوافق |
| --- | --- |
| Requested Information The submission must include: - Full legal address and contact details of the company. - Name of company’s official owner and copy of his/her ID & passport (if available) - Copy of company registration certificate - Copy of Tax Registration Certificate. - Reference from previous similar business experience with reference contact information. - Bank account information if available. - The vendor must read, sign & stamp the Attachment (2) related to CRS SUPPLIER CODE OF CONDUCT | يجب تقديم ما يلي: يجب ان يتضمن التقديم ما يلي : - العنوان الكامل الصحيح وعنوان الاتصال للشركة - اسم صاحب الشركة الرسمي مع نسخة من البطاقة القومية او جواز السفر. - صورة عن شهادة تسجيل الشركة - صورة عن شهادة التسجيل الضريبي - المرجع من الخبرة في الاعمال السابقة المماثلة و معلومات الاتصال للمرجع - تفاصيل معلومات الحساب المصرفي اذا امكن. - يجب على المقاول قراءة و توقيع و ختم الملحق(2) و الخاص بالقواعد السلوكية التي تنتهجها هيئة الإغاثة الكاثوليكية. |

| Bid Requirements:- Offers that do not meet the following will be automatically rejected regardless of price: - Offers must be received before the stated deadline. - Offers must include all the information requested above. - Unit prices must be provided for all line items. Offers that only include totals will be rejected.. - Bids that include mistakes in calculations within the Bill of Quantities will be excluded from competition. - Bids must be submitted through CRS Zalingei office to receive bids. - Offers must be clean & clear. The vendor should sign and stamp next to handwritten corrections if available or corrections made with whiteout. - Offers must be complete from all sides, signed, dated, and stamped on all pages. - The technical adviser of CRS will carry out quality control of the items and reserve the right to reject and items did not match the above-mentioned specification. - The supplier Must be registered with MOH and present the documentation during tendering - The duration of delivery all requested items must be clearly specify | معلومات ملء العطاء :- سوف يتم رفض أي عطاء لا يلتزم بالشروط أدناه بغض النظر عن السعر: - سيتم رفض أي طلب يقدم بعد التاريخ والوقت المحدد لقبول العطاءات. - يجب أن تتضمن العروض جميع المعلومات المطلوبة أعلاه. - جميع الاسعار يجب ان تكتب لكل بند أو فقرة على حدة، ويتم رفض العطاءات التي تحتوي على الإجمالي فقط. - سيتم استبعاد العطاء الذي يتضمن خطأ في حسابات جداول الكميات - يجب تقديم العروض في مكتب المنظمة في زالنجي - العروض يجب أن تكون نظيفة وواضحة، يجب التوقيع والختم ان وجد في مكان أي تصحيح يدوي أو باستخدام قلم التصحيح الابيض. - يجب أن تكون العروض كاملة من جميع الجوانب، موقعة بتاريخ واضح ومختومة على جميع الصفحات. - سيقوم الجهة الفنية من قبل المنظمة لمطابقة المواصفات ويتم رفض أي دواء غير متطابق للمواصفات أعلاه. - يجب ان يكون العميل مسجل بوزارة الصحة واحضار المستندات - يجب تحديد بشكل واضح فترة تسليم كل الكميات المطلوبة |
| --- | --- |

| Delivery Instructions: Complete and stamped and signed offer can be submitted directly to CRS Zalingei office. - The company biography should not exceed 10 pages. Complete and stamped and signed offer must be delivered in sealed envelope with tender number on it (SD-CRS-538749-CW-RFQ) Delivery to CRS Sudan office located in Zalingei | تعليمات التسليم: يجب تقديم العطاء الكامل والمختوم و الموقع في مكتب زالنجي يجب ان لا تتجاوز السيرة الذاتية للشركة اكثر من 10 صفحات. - يجب تقديم العطاء الكامل والمختوم و الموقع مع كافة الوثائق المطلوبة في ظرف مغلق يكتب عليه رقم العطا (SD-CRS-538749-CW-RFQ) ويسلم الى مقر المنظمة في زالنجي |
| --- | --- |

Experience Reference List

قائمة مراجع الاعمال السابقة

|  | Name of Organization أسم المنظمة | Name of Person أسم الشخص | Name of Project أسم المشروع | Project Start Date تاريخ المباشرة بالمشروع | Project duration مدة تنفيذ المشروع | Phone Number رقم الموبايل | Email Address البريد الالكتروني |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Company name: أسم الشركة : |  |
| --- | --- |
| Legal address: العنوان الثابت: |  |
| Telephone Number: رقم الهاتف: |  |
| Email: عنوان البريد الإلكتروني: |  |
| Representative Name اسم الممثل: |  |
| Business Certificate Registration Number: رقم تسجيل شهادة العمل: |  |
| Tax registration Number: رقم التسجيل الضريبي: |  |
| Contract duration: مدة العقد : |  |
| Bank details: - - Bank Name: …………………………………… - Bank account name: ………………………… - Bank number ……………………………… - Branch: ……………………………………… | تفاصيل الحساب:- إسم الينك : ---------------------------------------- اسم الحساب :---------------------------------------- رقم الحساب : ------------------------------------- - الفرع ----------------------------------------------- |
| Do you have partnerships with any other companies (such as shared management / staff / office / bank account)? Do you cooperate with any other companies in preparing offers or providing goods or services? هل لديك شراكات مع أي من الشركات الأخرى ( مثل إدارة / الموظفين / المكتب حساب مشترك / البنك) ؟ هل تتعاون مع أي من الشركات الأخرى في إعداد العروض أو توفير السلع أو الخدمات؟ |  |
| If the answer to the previous question is yes, please provide details here including the names of partner companies. إذا كان الجواب عن السؤال السابق نعم ، يرجى تقديم التفاصيل هنا بما في ذلك أسماء الشركات الشريكة |  |
| Other comments: ملاحظات اخرى: |  |
| Experience / references for the related work of experience (Please attached any related contract, purchase order, certificate, etc.) that does not exceed 10 pages. References MUST include contact information. يجب ان يحتوي على عناوين الاتصال من مراجع الخبرة المرجع من الخبرة ( الرجاء ارفاق دليل من الاعمال السابقة ذات الصلة من عقود , اوراق شراء , ورقة اتمام عمل , اخرى ) لا تتجاوز عشرة اوراق. |  |

| Signature التوقيع |  |
| --- | --- |
| Date التاريخ |  |

ATTACHED (1)

Specifications

SD-CRS-538749-CW-RFQ / Provision of minor rehabilitation works of 4HFs in 4 HFs in Central Darfur

Hamedia B7  health facility

| A. Priority rehabilitation is required for Water and Sanitation (Latrine , Waste zone and Water Supply) - |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Items descriptions | UOM | QTY | Unit price in SDG | Total Price in SDG |
| 1 | Metal drum incinerators (200 L capacity), modified with vent holes, top loading door & chimney including the remove the old one. | Pcs | 2.0 |  |  |
| 2 | Concrete base for drum incinerators, 1.2 m × 1.2 m × 0.15 m × 2m reinforced | m3 | 0.4 |  |  |
| 3 | Excavate Placenta pit (1.5 m × 1.5 m ×3 m), Sharp pit (1.5 m × 1.5 m ×3 m), and Ash pit (1.5 m × 1.5 m ×3 m) with provide the materials and build those pits using small bricks (first class) ,cement sand mortar with cover the pits from the reinforced concrete including the mainahole with cover and ventilation pipe. | Pcs | 3.0 |  |  |
| 4 | Provide materials and repair the latrine's door. | Pcs | 3.0 |  |  |
| 5 | Provide and install water tank 1000 L for the maternity ward including the build of platform by dimension (1.5 L*1.2 W *1.5 H) , using 1.5 small bricks, cement sand mortar, concrete 10 cm thickness over the platform, filling the gaps with sand and plastering. | job | job |  |  |
| 6 | Tap stands with 1" GI outlet, support pedestal, apron slab + Plumbing Materials: GI pipe 1" (medium duty) + 1" Gate valves (brass) + Elbows, reducers, sockets, T-joints (assorted GI fittings) + PTFE tape & sealing compounds including the connections from water point to the maternity ward with repair the soap pit. | job | job |  |  |
| 7 | Provide and fix handwashing facility for the medical service area and latrine including the good drainage of water using tank 50 L with metallic based. | pcs | 5.0 |  |  |
| Constructing of shelter for EPI including the kitchen |  |  |  |  |  | Constructing of shelter for EPI including the kitchen |
| 1 | Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm | ml | 25.5 |  |  |
| 2 | Excavate strip foundation with width 50 cm and depth 50 cm and back fill with stone up to level 30 cm for attached waiting Area shelter | ml | 29 |  |  |
| 3 | provide and construct brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 20 cm above Zero level,use cement/sand mix 1:8 | ml | 25.5 |  |  |
| 4 | provide and construct brick wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) with hight 30 cm above Zero level,use cement/sand mix 1:8 for attached waiting Area shelter | ml | 29 |  |  |
| 5 | provide andconstruct and cast reinforced concrete (1:2:4) mix for grade beam with section 30 cmx 30 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | ml | 25.5 |  |  |
| 6 | provide and construct and cast reinforced concrete (1:2:4) mix for lentil beam with section 35 cmx 15 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | ml | 25.5 |  |  |
| 7 | provide and construct and build brick wall including Barbate by using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,use mud morter | m2 | 102 |  |  |
| 8 | Provide and costruct brick wall 25 cm thickness with suports each 2 m using cement /sand morter Mix ( 1: 6 ) for waiting Area shelter | m2 | 35 |  |  |
| 9 | provide and back filling using selected soil with well compacted in 3 layers for both room and attached waiting Area shelter | m2 | 26 |  |  |
| 10 | Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter | m2 | 72 |  |  |
| 11 | provide and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm thickness as shown in drawing for both room and attached waiting Area shelter | m2 | 80 |  |  |
| 12 | provide and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets ) | Meter Length(ML) | 29 |  |  |
| 13 | provide and fix Cylindrical iron pipe 3 inch in diameter , 3.5 m length and 1mm thickness for shelter witt painting | Pcs | 14 |  |  |
| 14 | Provide and plastering wall using cement/sand mortar mix 1:8 or both room and attached waiting Area shelter | m2 | 274 |  |  |
| 15 | Provide and painting wall 2coat for Externall and internal wall using Bomastic paint or both room and attached waiting Area shelter | m2 | 274 |  |  |
| 16 | Provide and fix mesh (sixbenda) wit section 2 m length and 1 m height on shelter side | Pcs | 15 |  |  |
| 17 | Provide and fix Doors with section 2 m X 1 m for shelter | Pcs | 1 |  |  |
| 18 | provide and fix steel door size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 2 |  |  |
| 19 | provide and fix steel window with fine mesh and sixbanda size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 3 |  |  |
| 20 | provide and fix sky light with fine mesh and sixbanda size 40 cm x 40 cm | pcs | 2 |  |  |
| Bill Of Quantities for Rehabilitation of Hamedia B4 Heath Facility |  |  |  |  |  |
| A. Priority rehabilitation is required all HF |  |  |  |  |  |
| 1 | Repair the store's roof for OTP by provide the metallic pipe 4*8 cm, 1mm and change the damage zinc sheet including the painting of internal wall | job | job |  |  |
| 2 | Provide materials and cast the floor for OTP's waiting area, using plain concrete 10 cm, mix 1:3:6 with good curing 3 times per day | m2 | 78.0 |  |  |
| 3 | Provide materials and repair the doors for all medical services areas | pcs | 12.0 |  |  |
| 4 | Provide materials and repair the windows for all medical services area | pcs | 31.0 |  |  |
| 5 | Repair and review of electricity's lines for all medical services areas including of provide and fix the missing materials (lights, socket, and switch or all items using for electricity. | job | job |  |  |
| 6 | Provide materials and close the zinc sheet's holes by using Refcoat and Damouria cloth for all medical services areas | job | job |  |  |
| 7 | Provide materials and construct the shelter (4*6 m) infront of the kitchen as place for the staff to take their breakfast including the floor. | job | job |  |  |
| B. Water and Sanitation (Latrine , Waste zone and Water Supply) - Priority rehabilitation is required |  |  |  |  |  |
| 1 | Repair the incinerator for HF. | job | job |  |  |
| 2 | Provide and build wall for the tow side of latrine using 1 bricks (first class), C/S mortar including plastering, painting and remove the metalic fence infront of the latrine | job | job |  |  |
| 3 | Repair the marble handwashing basin for the Delivery room. | job | job |  |  |
| C. Priority rehabilitation is required for Completion of Wall, Open New Windows, Some Modification in Maternity ward |  |  |  |  |  |
| 1 | Provide materials and complete of building the wall using 1.5 small bricks (first class), C/S mortar including the plastering. | M² | 65 |  |  |
| 2 | Provide material and fix in position Metal Boundary Fence (4*4 m)composed of vertical posts Cylindrical 3 inch diameter 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm , 4mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance including the door. | job | job |  |  |
| 3 | Provide materials and modify the maternity ward by divide the existing store room to tow room using 1 bricks (first class), C/S mortar, plastering, and painting + provide and fix new 16 windows + 4 door for several room including of opening the window's and door's places. | job | job |  |  |
| Tanako health facility-fence 25*40 m |  |  |  |  |  |
| 1 | "Provide material and fabricate a gate for the fence with a total width of 3 meters, consisting of three leaves. The gate shall be constructed from iron box sections as per the engineer's instructions, and fixed between brick columns and a rammed base. The entire structure shall be finished with plastering and painting | Pcs | 1.0 |  |  |
| 2 | Provide material and fix in position Metal Boundary Fence composed of vertical posts Cylindrical 3 inch diameter 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm , 4mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance | Ml | 43.0 |  |  |
| Priority rehabilitation is required for (OTP, EPI, Consultation room, Midwife, Store ) |  |  |  |  |  |
| 1 | Repair of the doors | Pcs | 7.0 |  |  |
| 2 | Repair of the windows | Pcs | 12.0 |  |  |
| 3 | Provide materials and close the zinc sheet's holes by using Refcoat and Damouria cloth for all medical services areas | Job | job |  |  |
| 4 | Ptovide and make painting internal and external for medical service area using Bomastic Engineer Chemi Plast & Silk three face including the CRS's LOGOs . | m2 | 711.0 |  |  |
| Construct new block latrine with two drop holes and water storage |  |  |  |  |  |
| 1 | Excavate hole for a 1 block communal latrine size 2 m X 3 m and 4 m depth. | M³ | 24 |  |  |
| 2 | provide material and construct and build brick wall around hole for lining by using thickness one brick and half(first class burn brick size 11cm x6cm x22 cm) must rise 0.5 m from zero level,use cement /sand mortar | M² | 43 |  |  |
| 3 | provide material and casting plain concrete with depth 10 cm use mix 1:3:6 | M² | 6 |  |  |
| 4 | provide material and cast reinforced concrete (1:2:4) mix for tie beam with section 30 cmx 30 cm use steel bar 12 mm 4T12@150mmc/c As shown in drawing | ML | 10 |  |  |
| 5 | construct and cast reinforce concrete slabs use mix (1:2:4) thickness of 15 cm using 12 mm steel bar with 150 mm spacing (Y12@15 cm c/c) with manholesize 30cm x 30 cm | M² | 6 |  |  |
| 6 | provide material construct and build brick wall for three rooms communal latrine , and Privacy wall by using thickness one brick (first class burn brick size 11cm x6cm x22 cm) ,use cement morter including Barbate. | M² | 42 |  |  |
| 7 | Excavate strip foundation with width 40 cm and depth 45 cm for privacy wall | ML | 4 |  |  |
| 8 | Provide material and install heavy metal doors (180 cm X 0.8cm) framed with hollow steel pipe and it has sky light with hight 20cm at top use mesh (fine and sixbanda) | Pcs | 2 |  |  |
| 9 | provide material fixing squat seats for latrine | Pcs | 2 |  |  |
| 10 | provide material and install taile | M² | 4 |  |  |
| 11 | provide and install skirt | ML | 12 |  |  |
| 12 | Provide material and fix ventilation PVC pipe 3 inchs (3 meters Apove slab) covered with mesh at top | No. | 1 |  |  |
| 13 | provide material and construct and lay plaster ( 1:8 cement sand mortar) internal and external include (barabied) | M² | 84 |  |  |
| 14 | provide material and fix sky light framed from steel Angle and mesh (fine and sixbanda) size 35 cm x 35 cm | No. | 2 |  |  |
| 15 | provide material and apply painting in walls internally and externally ,use 3 coat of Bombastic | M² | 84 |  |  |
| 16 | provide material and construct and install iron corrugated sheets (zinc 35) for roof complete with steel rafters (use steel hollow pipes 3cm x 6 cm ) | M² | 6 |  |  |
| 17 | Provide material and install public water basin wash with one taps including all necessary water connection fitting and connected with water tank | No. | 1 |  |  |
| 18 | Provide material and fix ( biba) | No. | 2 |  |  |
| 19 | provide material and build Giltrab size 30x30 cm with reinforced concrete cover | No. | 2 |  |  |
| 20 | Provide material and build mainhole size 50x50 cm with reinforced concrete cover with connected to Giltrab and pit using P V C Pipe 4 inch | No. | 2 |  |  |
| 21 | Excavite pit with section 2 mx2m and depth 3m and back fill with crashed brick include 4 layers of charcool jn 10cm | job | 1 |  |  |
| 22 | provide material and costruct base for water storge 1500 litter using red bricks and sand / cement morter in size 2.5 m x 2.5 m and height 1.5 m and cover at top by reinforced concrate thickness 12 cm and costruct steps leader with hand rails as instructed by engineer | job | 1 |  |  |
| 23 | Provide and install a 1,500-liter horizontal Tiga water storage tank, and extend two tap lines — one to the latrine and one for health facility consumption — with a total pipeline length of 25 m. | job | 1 |  |  |
| Construction of Medical Waste Disposal – Drum Incinerators |  |  |  |  |  |
| 1 | Metal drum incinerators (200 L capacity), modified with vent holes, top loading door & chimney | Pcs | 2.0 |  |  |
| 2 | Concrete base for drum incinerators, 1.2 m × 1.2 m × 0.15 m × 2m reinforced | m3 | 0.4 |  |  |
| 3 | Excavate Placenta pit (1.5 m × 1.5 m ×3 m), Sharp pit (1.5 m × 1.5 m ×3 m), and Ash pit (1.5 m × 1.5 m ×3 m) with provide the materials and build those pits using small bricks (first class) ,cement sand mortar with cover the pits from the reinforced concrete including the mainahole with cover and ventilation pipe. | Pcs | 3.0 |  |  |
| 4 | Provide material and fix in position Metal Boundary Fence composed of vertical posts Cylindrical 3 inch diameter 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm , 4mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance including the door. | job | job |  |  |
| Abu-nono health facility |  |  |  |  |  |
| Water and Sanitation (Latrine , Waste zone and Water Supply) - Priority rehabilitation is required for |  |  |  |  |  |
| 1 | Metal drum incinerators (200 L capacity), modified with vent holes, top loading door & chimney including the remove the old one. | Pcs | 2.0 |  |  |
| 2 | Concrete base for drum incinerators, 1.2 m × 1.2 m × 0.15 m × 2m reinforced | m3 | 0.4 |  |  |
| 3 | Excavate Placenta pit (1.5 m × 1.5 m ×3 m), Sharp pit (1.5 m × 1.5 m ×3 m), and Ash pit (1.5 m × 1.5 m ×3 m) with provide the materials and build those pits using small bricks (first class) ,cement sand mortar with cover the pits from the reinforced concrete including the mainahole with cover and ventilation pipe. | Pcs | 3.0 |  |  |
| 4 | Provide material and fix in position Metal Boundary Fence (4*4 m)composed of vertical posts Cylindrical 3 inch diameter 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm , 4mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance including the door. | job | job |  |  |
| 5 | Provide materials and repair the 2 doors for the latrine including the cracks with fill around the latrine by selected soil with compaction. | job | job |  |  |
| 6 | Provide and install water tank 1000 L for the maternity ward including the build of platform by dimension (1.5 L*1.2 W *1.5 H) , using 1.5 small bricks, cement sand mortar, concrete 10 cm thickness over the platform, filling the gaps with sand and plastering. | job | job |  |  |
| 7 | Tap stands with 1" GI outlet, support pedestal, apron slab + Plumbing Materials: GI pipe 1" (medium duty) + 1" Gate valves (brass) + Elbows, reducers, sockets, T-joints (assorted GI fittings) + PTFE tape & sealing compounds including the connections from water point to the maternity ward with repair the soap pit. | job | job |  |  |
| 8 | Provide and fix handwashing facility for the medical service area and latrine including the good drainage of water using tank 50 L with metalic based. | pcs | 5.0 |  |  |
| Constructing new waiting area shelter for OTP beneficiary |  |  |  |  |  |
| 1 | Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm | ml | 25.5 |  |  |
| 2 | Excavate strip foundation with width 50 cm and depth 50 cm and back fill with stone up to level 30 cm for attached waiting Area shelter | ml | 29 |  |  |
| 3 | provide and construct brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 20 cm above Zero level,use cement/sand mix 1:8 | ml | 25.5 |  |  |
| 4 | provide and construct brick wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) with hight 30 cm above Zero level,use cement/sand mix 1:8 for attached waiting Area shelter | ml | 29 |  |  |
| 5 | provide andconstruct and cast reinforced concrete (1:2:4) mix for grade beam with section 30 cmx 30 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | ml | 25.5 |  |  |
| 6 | provide and construct and cast reinforced concrete (1:2:4) mix for lentil beam with section 35 cmx 15 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | ml | 25.5 |  |  |
| 7 | provide and construct and build brick wall including Barbate by using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,use mud morter | ml | 102 |  |  |
| 8 | Provide and costruct brick wall 25 cm thickness with suports each 2 m using cement /sand morter Mix ( 1: 6 ) for waiting Area shelter | ml | 35 |  |  |
| 9 | provide and back filling using selected soil with well compacted in 3 layers for both room and attached waiting Area shelter | m3 | 26 |  |  |
| 10 | Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter | m2 | 72 |  |  |
| 11 | provide and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm thickness as shown in drawing for both room and attached waiting Area shelter | m2 | 80 |  |  |
| 12 | provide and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets) | ml | 29 |  |  |
| 13 | provide and fix Cylindrical iron pipe 3 inch in diameter, 3.5 m length and 1mm thickness for shelter witt painting | Pcs | 14 |  |  |
| 14 | Provide and plaster wall using cement/sand mortar mix 1:8 or both room and attached waiting Area shelter | m2 | 274 |  |  |
| 15 | Provide and painting wall 2coat for External and internal wall using Bomastic paint or both room and attached waiting Area shelter | m2 | 274 |  |  |
| 16 | Provide and fix mesh (sixbenda) wit section 2 m length and 1 m height on shelter side | Pcs | 15 |  |  |
| 17 | Provide and fix Doors with section 2 m X 1 m for shelter | Pcs | 1 |  |  |
| 18 | provide and fix steel door size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 2 |  |  |
| 19 | provide and fix steel window with fine mesh and sixbanda size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 3 |  |  |
| 20 | provide and fix sky light with fine mesh and sixbanda size 40 cm x 40 cm | pcs | 2 |  |  |
|  | SUM |  |  |  |  |

| Bidder’s (Company) Name: ________________ Authorized Person Full Name: _____________ Title (Position): _________________________ Signature and Company Official Stamp: _____ Date: ____________________ | اسم مقدم العرض (الشركة)___________________ الاسم الكامل للشخص المفوض: _________________ اللقب (المنصب): ___________________________ التوقيع وختم الشركة الرسمي: _______________ التاريخ:___________________________ |
| --- | --- |